Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2016

Subject Title :	ENERGY SYSTEMS								      	     Time : 3 hours

Subject Code:	12EE232						 				       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Pyranometer is designed to measure ________, usually on a horizontal surface, but can also be used on an inclined surface.

2.	Solar Photovoltaic cells are generally made up of ________.

3.	Bring down the difference between cut-in and cut-out velocity in wind turbine.

4.	What are the most favorable sites for installing of wind turbines?

5.	In __________, Chemical Energy is converted into Electrical Energy.

6.	What do you understand by energy farming?

7.	What do you understand by resistance heating?

8.	List down the drawbacks of direct lighting system.

9.	In electric traction, the power is the product of ___________ and __________.

10.	Draw the Speed-Time curve for main line service in electric traction.

PART – B  (5 x 3 = 15 MARKS)

11.	List down the major applications of Solar Photovoltaic System.

12.	Comment on the environmental impacts of wind energy.

13.	With neat diagram, explain the electrolysis process in hydrogen production method.

14.	Classify the different types of electric welding.

15.	Discuss the characteristics of ideal traction system from owner point of view.

PART – C  (5 x 15 = 75 MARKS)

16.	a.	Explain how the variation of insolation and temperature affects the I-V characteristics of a 	solar cell.  																	    (7)

b.	Briefly discuss the energy conservation methods including Cogeneration and Binary Cycle Plants.																		    (8)

(OR)

17.	With the help of block diagrams, explain the operations of standalone and grid interactive Solar Photovoltaic systems.

18.	a.	With the help of block diagram, explain the functions of various blocks of a Wind Energy 	Conversion System (WECS).  													  (10)

b.	Discuss the major applications of wind power.									    (5)

(OR)

19.	a.	With help of neat diagram, explain the Horizontal Axis Wind Turbine (HAWT) and their 	functions of its main components.												  (10)

b.	Discuss the applications of variable speed drive schemes in wind turbines.			    (5)

20.	Describe various energy extraction technologies in liquid –dominated (Wet Steam) energy extraction used with hydrothermal resources.

(OR)

[P.T.O]

21.	a.	Describe the various methods of production of hydrogen for use as energy carrier.	  (10)

b.	With neat diagram, explain any one type of fuel cell with necessary equations. 		    (5)

22.	With help of neat sketch, explain any two types of bench photometers.

(OR)

23.	With help of neat diagram, explain the construction and working of core type induction furnace.

24.	Discuss the special arrangement required for employing regenerative braking in D.C. series motor.

(OR)

25.	Discuss the various types of traction system.