Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2016

Subject Title :	BUILDING AUTOMATION							      	     Time : 3 hours

Subject Code:	12EE253						 				       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	What are the different types of cables used in domestic wiring?

2.	Distinguish the closed loop and open loop control system.

3.	Power factor is given by____________.

4.	The unit of active power is expressed as ____________.

5.	A ____________ is an active fire protection device used to extinguish or control small fires, often in emergency situations.

6.	List the fire behavior indicators.

7.	DVR Engine consists of ____________, ____________.

8.	____________, ____________ are the types of access control cards based on the working principle.

9.	What is TCP?

10.	____________ is the colored part of an eye used to measure patterns.

PART – B  (5 x 3 = 15 MARKS)

11.	Discuss the data collection procedure for optimal selection of cable.

12.	Enumerate the importance of energy saving.

13.	Discuss the different conditions at which the electrical installations are required in fire safety systems.

14.	How does the nested anti pass back system works?

15.	What is the role of hub?

PART – C  (5 x 15 = 75 MARKS)

16.	Summarize the features, characteristics and drawbacks of building automation system.

(OR)

17.	Summarize the features, working principle, types and applications of actuators used in building automation system.

18.	Discuss about power quality issues and its effect on energy consumption.

(OR)

19.	Explain the concept of meter networking and discuss in detail about monitoring of energy parameter. Enumerate the merits and demerits.

20.	Construct and explain about an automated fire safety system with necessary diagrams for a library building by properly selecting and placing the fire extinguisher.

(OR)

21.	a.	Summarize the different types of fire detectors and its working principle with suitable 	diagram.																		  (10)

b.	Mention the different fire behavior indicators. How will you react based on the different 	indicators?																	    (5)

[P.T.O]

22.	Summarize the implementation of a security system for a building using the different biometric features of a human body.

(OR)

23.	Explain the concept of video management. Elaborate on CCTV basics, digital video recording and its special features.

24.	Discuss the complete integrated security system of a building.

(OR)

25.	a.	What are the features of integrated video management system?						    (5)

b.	Make a layout of a complete BAS for a highly secure and valuable building.			  (10)