Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2016

Subject Title :	INSTRUMENTATION AND CONTROL IN PAPER INDUSTRIES													      	     						     Time : 3 hours

Subject Code:	12EI237								 			       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	The preparation of the total wood material into a usable pulp form is called as __________.

2.	Define pulp screening.

3.	Basis __________is the term used to describe the __________of the sheet leaving the dry end of a paper machine.

4.	What is meant by consistency?

5.	Where is pH measurement used?

6.	Give the advantage of using magnetic flow meter in liquor flow control.

7.	When concentrated ___________liquor is burned in a recovery furnace, the ______constituents are reduced to a molten ash.

8.	How is smelt formed?

9.	Define portable data loggers.

10.	The major application of computer in paper mill process takes place in __________.

PART – B  (5 x 3 = 15 MARKS)

11.	List the raw materials used in paper industries.

12.	What are the different types of solid level sensors?

13.	Write notes on graphic display.

14.	Mention the important pulping process used to separate cellulose fiber from the wood.

15.	What are the advantages of using computer control techniques?

PART – C  (5 x 15 = 75 MARKS)

16.	With the neat sketch, explain how the chemical recovery process is done in paper industries.

(OR)

17.	Explain with the neat sketch, the paper making process in paper industries.

18.	Explain the following: 	                                                                  		                      (8+7)       a.	Level Measurement.			b.	Temperature Measurement.

(OR)

19.	Explain nuclear radiation method and optical method to measure density.

20.	Discuss in detail about digester liquor feed pump control.

(OR)

21.	Draw neatly the flow diagram of brown stock washer level control.

22.	Explain any one type of dissolving tank density control with neat sketch.

(OR)

23.	Describe the control techniques used in white liquor flow control.

24.	Describe liquid level control and input stock control with aid of computer.

(OR)

25.	Discuss in detail about computer applications in pulping process control.