Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2016

Subject Title :	INTELLIGENT BUILDINGS						      	     Time : 3 hours

Subject Code:	12CE257										       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Expand IBMS.

2.	Why is there need for green building approach?

3.	Name a rating system for green buildings.

4.	How to define human comfort?

5.	List two conductors through which electrical energy is transmitted to distribution systems.

6.	What is emergency lighting?

7.	Give a safety regulation as per NBC in case of fire.

8.	What is class B fire?

9.	In engineering structures, what does SHM do?

10.	What is a microprocessor?

PART – B  (5 x 3 = 15 MARKS)

11.	List any three technologies which help to provide energy efficiency and superior environment.

12.	Define an intelligent building.

13.	What are shape memory alloys?

14.	List the various types of sprinkler heads.

15.	Explain Wiegand cards used for security systems.

PART – C  (5 x 15 = 75 MARKS)

16.	Explain the concept of building management systems in buildings.

(OR)

17.	Explain the holistic approach to energy efficiency in buildings.

18.	Give an account of different types of air conditioning systems.

(OR)

19.	Explain the process of lighting design and principles involved in it.

20.	Write notes on  a) Fire lightings b) snorkel ladder  c) water storage and pumps.

(OR)

21.	Give an account of fire management in futuristic buildings.

22.	Write notes on access control readers and classify by the function they perform.

(OR)

23.	Detail on the structural health monitoring systems.

24.	Brief on the basic elements of satellite communication systems and its uses.

(OR)

25.	Enumerate on Microprocessor operations and also give the areas of application of PLC.