Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2016

Subject Title :	EXPERIMENTAL STRESS ANALYSIS				      	     Time : 3 hours

Subject Code:	13AE211										       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Define Sensitivity.

2.	Define Reproducibility.

3.	What are the disadvantages of a simple mechanical lever magnification?

4.	Give the magnification capacity & gaugelength of Huggen-Berger extensometer.

5.	What are the classifications of Electrical strain gauges?

6.	What is known as strain rosettes?

7.	Give the type of strain gauge circuits.

8.	What is polarized light?

9.	What are the methods are available to obtain plane polarized light?

10.	Define Non - destructive testing.

PART – B  (5 x 3 = 15 MARKS)

11.	What are the advantages of scratch gauge?

12.	Give the quantities required for a good gauge material.

13.	What are the properties of photo elastic materials?

14.	What are the four different possible setups in circular Polariscope?

15.	What are the advantages and Limitations of NDT?

PART – C  (5 x 15 = 75 MARKS)

16.	Briefly explain the working principle following Mechanical strain gauges.

a.	Berry Strain Gauge.

b.	Johansson extensometer.

c.	Huggenberger  and CEJ Extensometers.

d.	Scratch Gauge.

(OR)

17.	Briefly explain the working principle following strain gauges.

a.	Mechanical-Optical Gauges.

i.	Martens optical gauge.

ii.	Tuckerman optical gauge.

b.	Photoelastic Strain Ganges.

c.	Inductance Strain Gauges.

18.	Briefly explain the working principle following electrical resistance strain gauges.

Unbonded gauges:

a.	Non-metallic			b.	Metallic

Bonded gauges

c.	Non-metallic

d.	Metallic

i.	Wire type				ii.	Foil type.

[P.T.O]

(OR)

19.	Derive the expression for change in voltage ∆E of the Wheatstone bridge circuit.

20.	Sketch a plain polariscope and explain the effects of a stressed model and the fringes obtained in it.

(OR)

21.	Sketch a Circular Polariscope and explain the effects of a stressed model and the fringes obtained in it.

22.	Briefly explain following Compensation techniques

a.	The Babinet compensation method.

b.	The Babinet Soleil compensation method.

c.	Tension or compression strip method.

d.	Tardy method of compensation.

(OR)

23.	Briefly explain the type’s brittle coatings. What are the advantages and application of brittle coatings?

24.	Briefly explain the X-ray/Radiographic technique.

(OR)

25.	Briefly explain the Acoustic Emission (AE) Monitoring Technique.