Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – Nov/Dec – 2016

|  |  | Semester : | 2016-17 ODD |
| --- | --- | --- | --- |
| Code : | 14BI2002 | Duration : | 3hrs |
| Sub. Name : | INSTRUMENTAL METHODS OF ANALYSIS | Max. marks : | 100 |

| Q. No. | Questions |  |  |  | Course outcome | Marks |
| --- | --- | --- | --- | --- | --- | --- |
| PART-A (40X1=40 MULTIPLE CHOICE QUESTIONS) |  |  |  |  |  |  |
| 1. | Henderson’s equation can be represented by |  |  |  | CO2 |  |
|  | a. pH = pKa + log (Salt)/(Acid) | b. pH = pKa - log (Acid)/(Salt) | c. pKa = pH + log (Salt)/(Acid) | d. pKa = pH - log (Salt)/(Acid) |  | (1) |
| 2. | What substances are present in a buffer? |  |  |  | CO2 |  |
|  | a. A weak base or acid and its salt | b. A hydrolyzing salt only | c. A weak base only | d. A salt only |  | (1) |
| 3. | pH range is in between |  |  |  | CO2 |  |
|  | a. 7-14 | b. 0-14 | c. 1‐14 | d. 1‐7 |  | (1) |
| 4. | pH meter was invented by |  |  |  | CO2 |  |
|  | a. Arnold Orville Beckman in 1909 | b. Arnold Orville Beckman in 1934 | c. Sørensen in 1909 | d. Sorenson in 1934 |  | (1) |
| 5. | Which of the following is not used as reference electrode? |  |  |  | CO2 |  |
|  | a. Glass electrode | b Hydrogen electrode | c. Calomel electrode | d. Silver electrode |  | (1) |
| 6. | Buffering action of haemoglobin is mainly due to its |  |  |  | CO2 |  |
|  | a. Histidine residues | b. Glutamine residues | c. Arginine residues | d. Lysine residues |  | (1) |
| 7. | A photon whose wavelength is 510 nm is |  |  |  | CO1 |  |
|  | a. an ultraviolet photon | b. a visible photon | c. an infrared photon | d. a microwave photon |  | (1) |
| 8. | Wavelength visible to naked eye is |  |  |  | CO1 |  |
|  | a. 190-700 nm | b. 400-700 nm | c. 200-900 nm | d. 340-700 nm |  | (1) |
| 9. | Flame photometer is equipment used for detection of |  |  |  | CO1 |  |
|  | a. Sodium and Potassium | b. Sodium and Manganese | c. Sodium and Magnesium | d. Potassium and Magnesium |  | (1) |
| 10. | The light source of Ultra Violet radiation in spectrophotometer is |  |  |  | CO1 |  |
|  | a. Deuterium lamp | b. Tungsten filament lamp | c. Halogen lamp | d. Deuterium and halogen lamp |  | (1) |
| 11. | Monochromator used in UV Visible spectrophotometer is |  |  |  | CO1 |  |
|  | a. Glass filters | b. Grating or Prism | c. Mirrors | d. Half Mirrors |  | (1) |
| 12. | C.V.Raman was awarded Nobel Prize in the year |  |  |  | CO1 |  |
|  | a. 1931 | b. 1930 | c. 1929 | d. 1928 |  | (1) |
| 13. | The detector used in colorimeter is |  |  |  | CO1 |  |
|  | a. Photovoltaic cell | b. Photomultiplier | c. Mirror | d. Half Mirror |  | (1) |
| 14. | Path length of the cuvettes used in spectrophotometer is |  |  |  | CO1 |  |
|  | a. 1 cm | b. 2 cm | c. 3 cm | d. 1.5 cm |  | (1) |
| 15. | Infrared spectroscopy provides valuable information about |  |  |  | CO1 |  |
|  | a. Molecular weight. | b. Melting point. | c. Conjugation | d. Functional groups |  | (1) |
| 16. | In infrared spectroscopy which frequency range is known as the fingerprint region? |  |  |  | CO1 |  |
|  | a. 4000 - 3000cm-1 | b. 2500 - 2000cm-1 | c. 2000 - 1500cm-1 | d. 1500 - 750cm-1 |  | (1) |
| 17. | The radioimmunoassay technique is based on the principle of |  |  |  | CO1 |  |
|  | a. isotope dilution | b. Conjugation | c. Binding | d. Complex formation |  | (1) |
| 18. | In IR spectroscopy Applied IR frequency should be equal to the ______ |  |  |  | CO1 |  |
|  | a. Magnetic frequency | b. Positive frequency | c. Negative frequency | d. Natural frequency |  | (1) |
| 19. | _____________stretching vibrations followed in IR spectroscopy |  |  |  | CO1 |  |
|  | a. Wagging | b. Scissoring | c. Symmetric | d. Rocking |  | (1) |
| 20. | What is the most common source and sample holder used in atomic emission spectroscopy? |  |  |  | CO1 |  |
|  | a. Laminar flow burner | b. Direct current plasma | c. Electro thermal atomization furnace | d. Inductively coupled plasma |  | (1) |

| 21. | What is sedimentation coefficient? |  |  |  | CO3 |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | a. Sedimentation rate per unit of centrifugal field | b. Sedimentation rate of centrifugal field | c. Sedimentation rate per minute of centrifugal field | d. Sedimentation rate per part of centrifugal field |  | (1) |
| 22. | Vertical tube rotors are also called as |  |  |  | CO3 |  |
|  | a. Fixed zero angle rotors | b. Fixed angle rotors | c. Fixed rotors | d. Fixed vertical angle rotors |  | (1) |
| 23. | What do you mean by isopycnic point? |  |  |  | CO3 |  |
|  | a. Density of particle equals density of medium | b. Density of particle is greater than density of medium | c. Density of particle smaller than density of medium | d. Density of particle slightly higher than density of medium |  | (1) |
| 24. | Theodor Svedberg invented analytical ultracentrifuge in the year |  |  |  | CO3 |  |
|  | a. 1925 | b. 1928 | c. 1935 | d. 1930 |  | (1) |
| 25. | What is Rf? |  |  |  | CO3 |  |
|  | a. Retardation factor | b. Reflection factor | c. Revolution factor | d. Rescreening factor |  | (1) |
| 26. | Nuclear medicine was developed in the 1950s by physicians with an endocrine emphasis, initially using ______________ to diagnose and then treat thyroid disease |  |  |  | CO3 |  |
|  | a. Iodine-131 | b. Strontium-89 | c. Rhenium-186 | d. Samarium 153 |  | (1) |
| 27. | Phosphorus-32 is used in the treatment of ________________ |  |  |  | CO3 |  |
|  | a. Brain, thyroid, lungs and also in liver, spleen, kidney | b. Red blood cells and quantifies gastro-intestinal protein loss | c. Treatment of cancer | d. Polycythemia vera and as Beta emitter |  | (1) |
| 28. | Life time of Chromium -51 is |  |  |  | CO3 |  |
|  | a. 28d | b. 8d | c. 74d | d. 17d |  | (1) |
| 29. | Palladium-103 is used to make brachy therapy permanent implant seeds for. |  |  |  | CO3 |  |
|  | a. Cancer treatment | b. Head and breast cancer | c. Treat thyroid disease | d. Early stage prostate cancer |  | (1) |
| 30. | Iridium-__ and palladium-___ is used as an internal radiotherapy source for cancer treatment and to make brachy therapy permanent implant seeds, which among the following isotopes are used for both? |  |  |  | CO3 |  |
|  | a. 192 and 103 | b. 131 and 103 | c. 103 and 32 | d. 213 and 192 |  | (1) |
| 31. | Atoms of a given element with different mass numbers are called as |  |  |  | CO3 |  |
|  | a. Radioactive decay | b. Isotopes | c. Electrons | d. Protons |  | (1) |
| 32. | The mechanisms of Argon gas in GM counter central tube |  |  |  | CO3 |  |
|  | a. Ionisation | b. Conductivity | c. High voltage ion scattering | d. Electron Simulation |  | (1) |
| 33. | Emulsions consist of silver halide crystals suspended in a clear phase composed mainly of |  |  |  | CO3 |  |
|  | a. Beta particles | b. Radionuclides | c. G-ray | d. Gelatin |  | (1) |
| 34. | Differential scanning calorimetry (DSC) is a technique to measure ______ |  |  |  | CO3 |  |
|  | a. Electrical conductivity | b. Impact energy | c. Thermal expansion | d. Specific heat |  | (1) |
| 35. | Which of the following is not a UNIT of heat |  |  |  | CO3 |  |
|  | a. Fehranhit | b. Joule | c. Calorie | d. British thermal Unit |  | (1) |
| 36. | ________is the mode of heat transfer that occurs when there is a temperature gradient across the body |  |  |  | CO3 |  |
|  | a. Convection | b. Radiation | c. Conduction | d.All of the above |  | (1) |
| 37. | Differential scanning calorimetry (DSC) is a technique useful in determining |  |  |  | CO3 |  |
|  | a. glass transition temperatures | b. softening points of amorphous polymers and glasses | c. melting point of a crystalline polymer | d. all of the above |  | (1) |
| 38. | Which method would be used to measure both the heats and temperatures of transitions and reactions? |  |  |  | CO3 |  |
|  | a. DSC | b.DTA | c.TGA | d.TMA |  | (1) |
| 39. | Temperature in DTS and DSC is measured using |  |  |  | CO3 |  |
|  | a. thermocouples | b. capacitors | c. resistors | d. aluminium wires |  | (1) |
| 40. | The detectors used in Scintillation counter |  |  |  | CO3 |  |
|  | a. PMT | b.PVC | c. Electron pulser | d. Thermal detector |  | (1) |

| PART B (8 X 5 = 40 MARKS) (ANSWER ANY EIGHT) |  |  |  |
| --- | --- | --- | --- |
| 41. | Write short note on Glass electrode. | CO2 | (5) |
| 42. | Write the principle applications of colorimeter. | CO1 | (5) |
| 43. | Give a brief account on differential centrifugation. | CO3 | (5) |
| 44. | Give a short note on Affinity chromatography. | CO1 | (5) |
| 45. | Briefly explain about agarose gel electrophoresis. | CO1 | (5) |
| 46. | Mention different types of Radioactive decay. | CO3 | (5) |
| 47. | Write short note on Isoelectric focusing. | CO1 | (5) |
| 48. | Give a brief account on Autoradiography. | CO3 | (5) |
| 49. | Write briefly about DTA. | CO3 | (5) |
| 50. | What is thermo gravimetric analysis? | CO3 | (5) |
| PART C( 2 X 10 = 20 MARKS) (ANSWER ANY TWO) |  |  |  |
| 51. | Explain in detail about the princicple, working protocol and applications of pH meter with a neat diagram. | CO2 | (10) |
| 52. | Describe the working principle, apparatus and applications of Raman Spectroscopy. | CO1 | (10) |
| 53. | Write in detail about principle, working procedure and applications of Scintillation counter in detection of radioactive isotopes. | CO3 | (10) |

ALL THE BEST