UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

Reg.No. _____________

End Semester Examination – Nov/Dec - 2016

|  |  | Semester : | 2016-17 ODD |
| --- | --- | --- | --- |
| Code : | 12EE254 | Duration : | 3 hrs |
| Sub. Name : | Fundamentals of Electrical safety | Max. marks : | 100 |

| Q. No. | Questions | Marks |
| --- | --- | --- |
| PART-A(10X1=10 MARKS) |  |  |
| 1. | Mention the dangers of Exposed conductive part | (1) |
| 2. | Name the equipment outfitted only with the basic insulation and no bonding. | (1) |
| 3. | Give the function of Neutral- Protective Conductor | (1) |
| 4. | Differentiate between Conductor and Insulator | (1) |
| 5. | Resistivity of glass is ______ | (1) |
| 6. | Mention the effects of Arc Flash. | (1) |
| 7. | Discus about Burns. | (1) |
| 8. | What do you think about ARC Blast? | (1) |
| 9. | What is meant by Power factor penalty ? | (1) |
| 10. | Identify the Electric Bill Component. | (1) |

| PART B(5 X 3= 15 MARKS) |  |  |
| --- | --- | --- |
| 11 | Draw TN-C-S Grounding system. | (3) |
| 12 | How can you protect against Direct Contact of electrical equipment? | (3) |
| 13 | Can you provide an example of Inhalation Injuries? | (3) |
| 14 | How many ways can you recognize Job site hazards? | (3) |
| 15 | Classify the terms Estimated rate and Actual rate. | (3) |

| PART C(5 X 15= 75 MARKS) |  |  |  |
| --- | --- | --- | --- |
| 16. | a. | Identify the Physiological response that happens due to Electrical currents and Explain them. | (15) |
|  | b. |  |  |
|  | c. |  |  |
|  | d. |  |  |
|  | e. |  |  |
| (OR) |  |  |  |
| 17. | a. | Describe in detail about the impact of electric shock on our muscular system and heart. | (15) |
|  | b. |  |  |
|  | c. |  |  |
|  | d. |  |  |
|  | e. |  |  |
| 18. | a. | How to ensure safety due to Static charges impact? | (15) |
|  | b. |  |  |
|  | c. |  |  |
|  | d. |  |  |
|  | e. |  |  |
| (OR) |  |  |  |
| 19. | a. | Find the power dissipated in a 27 Ω resistor if the current is 0.135 A ? | (8) |
|  | b. | State the relationship of Ohms law. | (7) |
|  | c. |  |  |
|  | d. |  |  |
|  | e. |  |  |
| 20. | a. | Explain the Indoor and outdoor Safety Precautions. | (15) |
|  | b. |  |  |
|  | c. |  |  |
|  | d. |  |  |
|  | e. |  |  |
| (OR) |  |  |  |
| 21. | a. | Discuss about Recreational safety and Preventive measures | (15) |
|  | b. |  |  |
|  | c. |  |  |
|  | d. |  |  |
|  | e. |  |  |
| 22. | a. | Explain the Determination of Safe approach and Distance determining ARC Hazard. | (15) |
|  | b. |  |  |
|  | c. |  |  |
|  | d. |  |  |
|  | e. |  |  |
| (OR) |  |  |  |
| 23. | a. | Explain the Fundamentals Of Electrical hazards |  |
|  | b. |  | (15) |
|  | c. |  |  |
|  | d. |  |  |
|  | e. |  |  |
| 24. | a. | Discuss about Rate Classes and Rate Schedule | (15) |
|  | b. |  |  |
|  | c. |  |  |
|  | d. |  |  |
|  | e. |  |  |
| (OR) |  |  |  |
| 25. | a. | Complete the Architecture of smart meter with neat sketch. | (15) |
|  | b. |  |  |
|  | c. |  |  |
|  | d. |  |  |
|  | e. |  |  |

ALL THE BEST