Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – Nov/Dec – 2016

|  |  | Semester : | 2016-17 ODD |
| --- | --- | --- | --- |
| Code : | 14EI2001 | Duration : | 3hrs |
| Sub. Name : | SENSORS AND TRANSDUCERS | Max. marks : | 100 |

| Q. No. | Questions |  |  |  |  |  | Course outcome | Marks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PART-A (40X1=40 MULTIPLE CHOICE QUESTIONS) |  |  |  |  |  |  |  |  |
| 1. | Transducer is working based on-------------- |  |  |  |  |  | CO1 |  |
|  | a. Resistance | b. Capacitance | c. Inductance |  | d.All of the answer |  |  | (1) |
| 2. | Resistance of a device changing with respect to temperature |  |  |  |  |  | CO2 |  |
|  | a. inductive transducer | b.capacitive transducer | c. resistive transducer |  | d.a & b |  |  | (1) |
| 3. | Which one of the following is active transducer? |  |  |  |  |  | CO1 |  |
|  | a. pizeo electric | b. thermistor | c.RTD |  | d.strain gauge |  |  | (1) |
| 4. | Measurement of a given quantity is expressed in ___________ values. |  |  |  |  |  | CO1 |  |
|  | a. alpha | b. numerical | c. gamma |  | d. a&b |  |  | (1) |
| 5. | Without measurement, ___________ is not possible. |  |  |  |  |  | CO1 |  |
|  | a. Finding error | b. Calibration | c. Control |  | d. all the above |  |  | (1) |
| 6. | The resistance of LDR ________________ when exposed to radiant energy |  |  |  |  |  | CO1 |  |
|  | a. Remains unaltered | b. Decreases | c Reaches maximum |  | d. Increases |  |  | (1) |
| 7. | The transducer that converts the input signal into the output signal, which is a discrete function of time is known as ___________ transducer. |  |  |  |  |  | CO2 |  |
|  | a Digital | b.capacitive transducer |  | c. resistive transducer |  | d.a & b |  | (1) |
| 8. | A transducer that converts measurand into the form of pulse is called |  |  |  |  |  | CO1 |  |
|  | a. Active transducer | b. Analog transducer | c. Digital transducer |  | d. Pulse transducer |  |  | (1) |
| 9. | Which of the following is a digital transducer? |  |  |  |  |  | CO1 |  |
|  | a. Strain gauge | b. Encoder | c. Thermistor |  | d. LVDT |  |  | (1) |
| 10. | Strain gauge, LVDT and thermocouple are examples of |  |  |  |  |  | CO1 |  |
|  | a. Active transducers | b. Passive transducers | c. Analog transducers |  | d. Primary transducers |  |  | (1) |
| 11. | Sensor is a device which converts ___________________ into _______. |  |  |  |  |  | CO1 |  |
|  | a. Physical to electrical | b. Primary to secondary | c. electrical to electrical |  | d. electrical to physical |  |  | (1) |
| 12. | How do measure power |  |  |  |  |  | CO2 |  |
|  | a. energy meter | b. thermometer | c. wattmeter |  | d. all above |  |  | (1) |
| 13. | Which one of the following is non electrical quantity. |  |  |  |  |  | CO1 |  |
|  | a. resistor | b. frequency | c. power |  | d. Pressure |  |  | (1) |
| 14. | What unit is following in the energy meter? |  |  |  |  |  | CO1 |  |
|  | a. volt ampere | b. watts | c. amps |  | d. KWh |  |  | (1) |
| 15. | What is frequency? |  |  |  |  |  | CO1 |  |
|  | a. meters/sec | b. no cycles/sec | c. displacement |  | d. median |  |  | (1) |
| 16. | An inverse transducer is a device which converts |  |  |  |  |  | CO1 |  |
|  | a. Physical to electrical | b. Electrical quantity into mechanical quantity | c. Electrical energy into thermal energy |  | d. An electrical quantity into a non electrical quantity |  |  | (1) |
| 17. | A strain gauge is a passive transducer and is employed for converting |  |  |  |  |  | CO2 |  |
|  | a Mechanical displacement into a change of resistance | b. Pressure into a change of resistance | c. Force into a displacement |  | d. Pressure into displacement |  |  | (1) |
| 18. | Resolution of a transducer depends on |  |  |  |  |  | CO1 |  |
|  | a. Material of wire | b. Length of wire | c. Diameter of wire |  | d. ) Excitation voltage |  |  | (1) |
| 19. | The sensitivity factor of strain gauge is normally of the order of |  |  |  |  |  | CO1 |  |
|  | a. 1 to 1.5 | b. 5 to 10 | c. 0.5 to 1.0 |  | d. 1.5 to 2.0 |  |  | (1) |
| 20. | In wire wound strain gauges, the change in resistance is due to |  |  |  |  |  | CO1 |  |
|  | a. Change in diameter of the wire | b Change in length of the wire | c Change in both length and diameter |  | d. Change in resistivity |  |  | (1) |

| 21. | . ____________ is a technology of measurement which serves Sciences, Engineering, Medicine and etc. |  |  |  | CO1 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | a. Instrument | b.Instrumentation | c. Sensor | d. all the above |  |  | (1) |
| 22. | Give an example for signal conditioning circuits. |  |  |  | CO2 |  |  |
|  | a.Amplifier | b.Filter | c. ADC | d. all the above |  |  | (1) |
| 23. | _____________ is an active instrument. |  |  |  | CO1 |  |  |
|  | a. Petrol Tank Indicator | b. Pressure Gauge | c. Thermometer | d. none of the answer |  |  | (1) |
| 24. | Which one is give differential output |  |  |  | CO2 |  |  |
|  | a. Wheatstone | b. Potentiometer | c. a & b | d. none of the answer |  |  | (1) |
| 25. | The output of a sensor is ______________ |  |  |  | CO1 |  |  |
|  | a. Voltage | b. Current | c. Frequency | d. all the above |  |  | (1) |
| 26. | Bonded wire strain gauges are |  |  |  | CO1 |  |  |
|  | a. Exclusively used for construction of transducers | b. Exclusively used for stress analysis | c. Used for both stress analysis and construction of transducer | d. Pressure measurement |  |  | (1) |
| 27. | Certain type of materials generates an electrostatic charge or voltage when mechanical force is applied across them. Such materials are called |  |  |  | CO2 |  |  |
|  | a. Piezo-electric | b. Photo-electric | c. Thermo-electric | d. Photo-resistive |  |  | (1) |
| 28. | Quartz and Rochelle salt belongs to ___________ of piezo-electric materials |  |  |  | CO1 |  |  |
|  | a Natural group | b. Synthetic group | c. Natural or Synthetic group | d. Fiber group |  |  | (1) |
| 29. | Piezo-electric transducers are |  |  |  | CO2 |  |  |
|  | a. Passive transducers | b. Inverse transducers | c. Digital transducers | d. Pulse transducers |  |  | (1) |
| 30. | Piezo – electric transducers work when we apply _____________ to it |  |  |  | CO1 |  |  |
|  | a Mechanical force | b. Vibrations | c. Illuminations | d. Heat |  |  | (1) |
| 31. | which sensor is used to measure displacement _______________ |  |  |  | CO3 |  |  |
|  | a.RTD | b. Thermocouple | c. potentiometer | d.strain gauge |  |  | (1) |
| 32. | Which one of the following is not a systematic error? |  |  |  | CO1 |  |  |
|  | a. Instrumental error | b. Environmental error | c. Observational error | d. Random error |  |  | (1) |
| 33. | What are the factors that affects the environmental error? |  |  |  | CO1 |  |  |
|  | a. Stray capacitance | b.cross capacitance | c. Temperature changes | d. all the answers |  |  | (1) |
| 34. | Static characteristics means |  |  |  | CO1 |  |  |
|  | a.Resopne | b. output change with time | c . output do not change with time | d.calculation |  |  | (1) |
| 35. | What is sensitivity? |  |  |  | CO1 |  |  |
|  | a. output/input | b. change in output/change in input | c. S=R/V | d. ohms per volt reading |  |  | (1) |
| 36. | Piezo electric crystal can produce an emf |  |  |  | CO3 |  |  |
|  | a. When external mechanical force is applied to i | b. When radiant energy stimulates the crystal | c. When external magnetic field is applied | d. When the junction of two such crystals are heated |  |  | (1) |
| 37. | LVDT windings are wound on |  |  |  | CO1 |  |  |
|  | a. Copper | b. Aluminium | c. Ferrite | d. Steel sheets |  |  | (1) |
| 38. | The size of air cored transducers in comparison to the iron core parts is |  |  |  | CO1 |  |  |
|  | a. Smaller | b. Larger | c. Same | d. Unpredictable |  |  | (1) |
| 39. | The principle of operation of LVDT is based on the variation of |  |  |  | CO1 |  |  |
|  | a. Mutual inductance | b. Self inductance | c . Reluctance | d. Permanence |  |  | (1) |
| 40. | LVDT is an ___________ transducer |  |  |  | CO1 |  |  |
|  | a. Magneto-strict ion | b. Inductive | c. Resistive | d. Eddy current |  |  | (1) |
| PART B(8 X 5 = 40 MARKS) (ANSWER ANY EIGHT) |  |  |  |  |  |  |  |
| 41. | Write short notes on need of instrumentation system. |  |  |  | CO1 | (5) |  |
| 42. | Draw the block diagram of generalized measurement system and define each of its function |  |  |  | CO2 | (5) |  |
| 43. | Illustrate any five static characteristics of measuring instruments |  |  |  | CO1 | (5) |  |
| 44. | Write short notes on capacitive transducer. |  |  |  | CO1 | (5) |  |
| 45. | Write the advantages and disadvantages of RTD |  |  |  | CO2 | (5) |  |
| 46. | Illustrate working principle of thermistor |  |  |  | CO1 | (5) |  |
| 47. | List out the types of errors and describe any two types |  |  |  | CO1 | (5) |  |
| 48. | How do you select a transducer and write the differences between sensor and transducer |  |  |  | CO1 | (5) |  |
| 49. | Write the importance of signals and standards in measuring and control |  |  |  | CO1 | (5) |  |
| 50. | Write short note on thermocouple |  |  |  | CO1 | (5) |  |
| PART C( 2 X 10 = 20 MARKS) (ANSWER ANY TWO) |  |  |  |  |  |  |  |
| 51. | With neat sketch explain the construction and operation and working principle of potentiometer and list out its applications |  |  |  | CO2 | (10) |  |
| 52. | Draw the equivalent circuit for piezoelectric transducer and explain its operation with suitable application |  |  |  |  | (10) |  |
| 53. | Derive the equation for gauge factor and explain the operation of strain gauge transducer with suitable application |  |  |  | CO2 | (10) |  |

ALL THE BEST