Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – Nov/Dec – 2016

|  |  | Semester : | 2016-17 ODD |
| --- | --- | --- | --- |
| Code : | 14EI2013 | Duration : | 3hrs |
| Sub. Name : | INDUSTRAIL DATA COMMUNICATION NETWORKS AND PROTOCOLS | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | A ----------------------- System is designed for sending data in single directions. | CO1 | 1 |
|  | b. | The number of bits transmitted per second is defined as ---------- | CO1 | 1 |
|  | c. | What is the basic function of network layer? | CO1 | 2 |
|  | d. | What is high speed UART? | CO1 | 2 |
|  | e. | Describe in detail with necessary diagrams, how UART functions as a transmitter and receiver? | CO1 | 14 |
| (OR) |  |  |  |  |
| 2. | a. | OSI reference model has ............. layers | CO1 | 1 |
|  | b. | RS485 is a point to point serial interface standard. True/False. | CO1 | 1 |
|  | c. | How is ARQ flow control algorithm different from simple stop and wait approach?. | CO1 | 2 |
|  | d. | What is the need for industrial standards? Give examples. | CO1 | 2 |
|  | e. | Explain in detail about the different line coding methods. | CO1 | 14 |
| 3. | a. | -------------------- Serial interface standard operates in tri-state. | CO1 | 1 |
|  | b. | Telephone is an example for …………….. mode of communication. | CO1 | 1 |
|  | c. | Compare RS449 and RS485. | CO1 | 2 |
|  | d. | Define baud rate. | CO1 | 2 |
|  | e. | Explain in detail about the most commonly used parallel interface standard IEEE 488. | CO1 | 14 |
| (OR) |  |  |  |  |
| 4. | a. | USB follows……………. Architecture. | CO1 | 1 |
|  | b. | How many data lines are there in IEEE 488. | CO1 | 1 |
|  | c. | What is the significance of 4 to 20mA. | CO1 | 2 |
|  | d. | Why is RS 485 preffered in Industries. | CO1 | 2 |
|  | e. | Explain the architecture of USB with the reference to OSI layers. | CO1 | 14 |
| 5. | a. | STX in BSC protocol means --------------- | CO2 | 1 |
|  | b. | U frame means ………………… frame. | CO2 | 1 |
|  | c. | What are Control frames? | CO2 | 2 |
|  | d. | How is channelization done using TDMA method? | CO2 | 2 |
|  | e. | Discuss the functions of individual layers of OSI reference model for communication between open systems. | CO2 | 14 |
| (OR) |  |  |  |  |
| 6. | a. | The most commonly used protocol in ATM machines is a.SDLC b. BSC c. HDLC d. Xon/Xoff | CO2 | 1 |
|  | b. | What are the three layers of TCP architecture. | CO2 | 1 |
|  | c. | Suggest a flow control mechanism that can handle noisy channels. | CO2 | 2 |
|  | d. | The LLC sub-layer is a part of Network layer. Justify. | CO2 | 2 |
|  | e. | Discuss in detail about the different Medium Access Control methods. | CO2 | 14 |
| 7. | a. | A router is a ---------------------- | CO3 | 1 |
|  | b. | An ................. address is provided by the network layer. | CO3 | 1 |
|  | c. | Draw the response frame of MODBUS protocol for reading a register of address 000B with content 11AB . | CO3 | 2 |
|  | d. | What are the different modes in Modbus communication. | CO3 | 2 |
|  | e. | Discuss in detail about the Fieldbus protocol. | CO3 | 14 |
| (OR) |  |  |  |  |
| 8. | a. | HART protocol superimposes digital signal over analog information. True/False. | CO3 | 1 |
|  | b. | Data can be exchanged in two modes in Modbus. They are ____________ and ____________ | CO3 | 1 |
|  | c. | What is the significance of Allan Bradley protocol? | CO3 | 2 |
|  | d. | Draw the response frame of MODBUS protocol for reading the status of the coil with address 000B and content FFFF . | CO3 | 2 |
|  | e. | Discuss in detail about the IEEE802.3 LAN standard. | CO3 | 14 |
|  |  | Compulsory: |  |  |
| 9. | a. | Elaborate on the HART protocols used in industrial communication. | CO3 | 20 |

ALL THE BEST