Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – Nov/Dec – 2016

|  |  | Semester : | 2016-17 ODD |
| --- | --- | --- | --- |
| Code : | 14EI2023 | Duration : | 3hrs |
| Sub. Name : | OPTO ELECTRONICS AND LASER BASED INSGTRUMENTATION | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | What is cladding in Fiber optic cable.? | CO1 | 1 |
|  | b. | Define Intramodal dispersion. | CO1 | 1 |
|  | c. | What is a PIN diode? Discuss its advantages. | CO1 | 2 |
|  | d. | Optical fibers are generally composed of silica, with an index of refraction around 2.4. How fast does light travel in a silica fiber? | CO1 | 2 |
|  | e.(i) | Discuss the types of fiber optic cables based on the construction and propogation of light in the cable. | CO1 | 7 |
|  | (ii) | Explain the principle of total internal reflection with neat diagrams. | CO1 | 7 |
| (OR) |  |  |  |  |
| 2. | a. | Fiber Optics is a. Communication over copper wire b. Communication over speaker wire c. Communication over thin strands of glass | CO1 | 1 |
|  | b. | LASER light is coherent in nature. True/False | CO1 | 1 |
|  | c. | The speed of light in an unknown medium is measured to be 2.76 x 108 m/s. What is the index of refraction of the medium? | CO1 | 2 |
|  | d. | List few advantages of fiber optic cables. | CO1 | 2 |
|  | e. | Explain the construction and working of LED and LASER modified as a source for fiber optic communication. | CO1 | 14 |
| 3. | a. | What is the approx. wavelength of light used in Fiber Optics a. 850 nanometers b. 1000 nanometers c. 1011 nanometers d. 1200 nanometers | CO1 | 1 |
|  | b. | What is the current through the LED? - 0mA b. 23 mA c.13 mA d. 18 mA | CO1 | 1 |
|  | c. | Differntiate step index and Graded Index fiber. | CO1 | 2 |
|  | d. | What is meant by critical angle.? | CO1 | 2 |
|  | e. | What is mode locking and what are the different methods of mode locking? Discuss about them in detail. | CO1 | 14 |
| (OR) |  |  |  |  |
| 4. | a. | Name a dye used in liquid LASER. | CO2 | 1 |
|  | b. | Nd-YAG LASER is an example for …………..level LASER. | CO2 | 1 |
|  | c. | A typical LASER operates with a current of 7mA at a DC voltage of 250V and gives an optical output of 2mW. Calculate the overall power efficiency. | CO2 | 2 |
|  | d. | What is an optical resonator? | CO2 | 2 |
|  | e. | With neat diagram explain the principle of Gyroscope and also explain the construction and working of Fiber optic gyroscope. | CO2 | 14 |
| 5. | a. | LASER stands for --------------- | CO2 | 1 |
|  | b. | Define cavity dumping. | CO2 | 1 |
|  | c. | Suggest the type of LASER with its output power and wavelength used for spot welding. | CO2 | 2 |
|  | d. | Differentiate stimulated emission and spontaneous emission. | CO2 | 2 |
|  | e. | What are the steps involved in Lasing action and what is the significance of different levels in LASER? | CO2 | 14 |
| (OR) |  |  |  |  |
| 6. | a. | Write two important characteristics of a Laser beam. | CO2 | 1 |
|  | b. | He-Ne is an example for three level LASER. True/False | CO2 | 1 |
|  | c. | A typical Red LASER during its lasing action emits light at a wavelength of 715nm. Calculate the energy of the photon. | CO2 | 2 |
|  | d. | Differentiate constructive and destructive interference. | CO2 | 2 |
|  | e. | Explain the construction and working of Ruby LASER. | CO2 | 14 |
| 7. | a. | The process of clotting of blood in end nerves using Lasers are called…………. | CO3 | 1 |
|  | b. | Why is it necessary to fill the patients body with air or saline fluid before Laser endoscopes? | CO3 | 1 |
|  | c. | Define annealing process. | CO3 | 2 |
|  | d. | Mention the features of the photographic plates used for recording Holograms. | CO3 | 2 |
|  | e. | Discuss the application of Industrial Laser in Material processing | CO3 | 14 |
| (OR) |  |  |  |  |
| 8. | a. | In Laser welding ……….. type of LASER is used. | CO3 | 1 |
|  | b. | The first medical application of LASER was in …………… | CO3 | 1 |
|  | c. | Suggest the type of LASER with its output power and wavelength used for welding and cutting. | CO3 | 2 |
|  | d. | Define Photo-ablation process. | CO3 | 2 |
|  | e. | Explain hologram construction and reconstruction in detail with necessary diagrams | CO3 | 14 |
|  |  | Compulsory: |  |  |
| 9. | a. | Explain the different types of LASER interaction with tissues. Also discuss in detail the application of LASER in medicine. | CO3 | 20 |

ALL THE BEST