Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – Nov/Dec – 2016

|  |  | Semester : | 2016-17 ODD |
| --- | --- | --- | --- |
| Code : | 14EI3016 | Duration : | 3hrs |
| Sub. Name : | SCADA Systems and Applications | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Write the comparison between SCADA and DCS. | CO1 | 3 |
|  | b. | How you choose the SCADA system for particular application? | CO1 | 5 |
|  | c. | Describe about different programming languages used in PLC with suitable examples. | CO1 | 12 |
| (OR) |  |  |  |  |
| 2. | a. | Write the procedures for developing ladder diagram. | CO2 | 3 |
|  | b. | Write the drawbacks of PLC based control systems. | CO2 | 3 |
|  | c. | Illustrate construction, operation and working principle of input module/output module of PLC with wiring connections. | CO3 | 14 |
| 3. | a. | Why do some regularity bodies insist that the algorithm used to calculate fluid volumes be printed out by each flow totalizer once a day? | CO1 | 5 |
|  | b. | Describe about implementation of safety instrumented system in SCADA. | CO2 | 15 |
| (OR) |  |  |  |  |
| 4. | a. | How do you calculate a scan interval for SCADA systems? Explain with example. | CO1 | 5 |
|  | b. | With neat sketch and suitable example explain the working principle of real time SCADA system. | CO2 | 15 |
| 5. | a. | How the collision is avoided in SCADA communication system? | CO2 | 5 |
|  | b. | Describe about full architecture of remote control unit in SCADA system. | CO2 | 15 |
| (OR) |  |  |  |  |
| 6. | a. | What are the types of communication standards ? | CO1 | 3 |
|  | b. | Write short note on different network topology? | CO1 | 5 |
|  | c. | Explain in detail about various communication systems used in SCADA. | CO2 | 12 |
| 7. | a. | MTU communicates to three classes of machines. What are they? | CO1 | 5 |
|  | b. | Explain in detail about master terminal unit configuration method with neat diagram. | CO2 | 15 |
| (OR) |  |  |  |  |
| 8. | a. | Some applications of SCADA require much effort and design to increase the MTU Scanning speed. Why is this important? | CO2 | 5 |
|  | b. | Explain in detail about monitoring and controlling of a gas lift system using SCADA. | CO3 | 15 |
|  |  | Compulsory: |  |  |
| 9. | a. | Describe about architecture and message format of communication protocol used in SCADA system | CO2 | 20 |

ALL THE BEST