UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

Reg.No. _____________

End Semester Examination – Nov/Dec - 2016

|  |  | Semester : | 2016-17 ODD |
| --- | --- | --- | --- |
| Code : | 09EE101/12EE101/DEE101/EE101 | Duration : | 3 hrs |
| Sub. Name: | BASIC ELECTRICAL ENGINEERING | Max. Marks: | 100 |

| Q. No. | Questions | Marks |
| --- | --- | --- |
| PART-A(10X1=10 MARKS) |  |  |
| 1. | Materials with lots of free electrons are called _________. | (1) |
| 2. | A series circuit consists of three resistors. Two resistors are 1.2 k each. The total resistance is 12k. The value of the third resistor is ________. | (1) |
| 3. | Define leakage flux. | (1) |
| 4. | When crossing an air gap, the magnetic lines of force have a tendency to bulge out; this phenomenon is known as __________. | (1) |
| 5. | Define the term frequency in alternating quantities. | (1) |
| 6. | Fault location & repair is easier in ________ distribution system. | (1) |
| 7. | If the frequency in the secondary winding of a transformer is 50Hz, what will be its primary winding frequency? | (1) |
| 8. | The transformer ratings are usually expressed in terms of ________. | (1) |
| 9. | In gravity control, the _________ force acting on the moving weight produces the required control torque. | (1) |
| 10. | Recording instruments gives a ___________ record of the variations of the electrical quantity over a selected period of time. | (1) |

| PART B(5 X 3= 15 MARKS) |  |  |
| --- | --- | --- |
| 11 | Define Ohm's law and mention its limitations. | (3) |
| 12 | State the laws of Electromagnetic Induction. | (3) |
| 13 | Compare overhead and underground distribution systems. | (3) |
| 14 | List the types of DC Motor. | (3) |
| 15 | What are the different methods of earthing? | (3) |

| PART C(5 X 15= 75 MARKS) |  |  |  |
| --- | --- | --- | --- |
| 16. | a. | An electrical network is arranged as shown in the following figure. Find the total equivalent circuit resistance. | 10 |
|  | b. | State Kirchhoff’s Current and Voltage Laws. | 5 |
| (OR) |  |  |  |
| 17. |  | A network of 9 resistances (in ohms) is connected as shown in the following circuit. Determine the resistance between A and C using star – delta transformation. | 15 |
| 18. | a. | Explain the mutual inductance with necessary equations. Also derive the relationship between mutual-induced emf and mutual inductance. | 12 |
|  | b. | A toroidal air cored coil with 2000 turns has a mean radius of 25 cm, diameter of each turn being 6 cm. If the current in the coil is 10A, find MMF. | 3 |
| (OR) |  |  |  |
| 19. | a. | Derive the equation for coupling co-efficient (k) between two magnetic circuits. | 10 |
|  | b. | Compare magnetic circuits and electric circuits. | 5 |
| 20. |  | With a neat diagram explain the construction and working of a Thermal Power generating station. | 15 |
| (OR) |  |  |  |
| 21. |  | Derive the expressions for rms value, average value, form factor and peak factor of an alternating sinusoidal voltage quantity | 15 |
| 22. |  | With a neat diagram explain the construction and working principle of DC Generator. | 15 |
| (OR) |  |  |  |
| 23. | a. | Explain the principle of operation and working of three phase induction motor. | 10 |
|  | b. | Explain the working principle of Transformer. | 5 |
| 24. | a. | Explain the Stair-case wiring and Fluorescent tube connection with a neat wiring diagram. | 10 |
|  | b. | Define the term deflecting torque in measuring instruments. | 5 |
| (OR) |  |  |  |
| 25. |  | Explain the construction, principle and working of a permanent magnet moving coil instruments with neat diagrams. | 15 |

ALL THE BEST