UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

Reg.No. _____________

End Semester Examination – Nov/Dec – 2016

Subject Code:	10EI209/12EI218/EI256					      	                           Time: 3 hours

Subject Title :	INDUSTRIAL INSTRUMENTATION       	            Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Define Absolute pressure.

2.	____________ is a device that is used in the calibration of pressure gauges.

3.	What are the different types of Anemometers?

4.	Name the device that measures flow by measuring the force on the particular point or disc.

5.	What are the different units of temperature?

6.	Expand RTD.

7.	Name any two electrical methods of level measurement.

8.	Give any two advantages of Displacer level Detectors.

9.	List out any two applications of viscometer.

10.	Define Density.

PART – B  (5 x 3 = 15 MARKS)

11.	Write short notes on Pressure measurement using Bourdon tube.

12.	Demonstrate the use of orifice plate in flow measurement.

13.	Classify the various types of temperature measuring devices.

14.	Describe the working of Float type level detector.

15.	What is Newtonian behavior in fluid?

PART – C  (5 x 15 = 75 MARKS)

16.	Explain the construction and working of the Ionization Gauge with a neat diagram.

(OR)

17.	Illustrate the construction and working of the different types of Manometers with necessary diagrams.

18.	Give details about the construction and working of Turbine Flow Meter.

(OR)

19.	Describe the construction and working of Electromagnetic flow meter in detail.

20.	Exemplify the principle, construction and working of Radiation pyrometer with essential diagrams.

(OR)

21.	Describe the working of the following Temperature measuring devices:

a.	Bimetallic Thermometers.														    (5)

b.	Thermocouple.																    (5)

c.	Filled system thermometer. 													    (5)

22.	Classify and explain the different types of direct methods of Level Measurement with necessary diagrams.

(OR)

23.	Discuss the construction and working of Ultrasonic Level detector in detail.

24.	Describe about the working of Laboratory Viscometers with necessary diagrams.

(OR)

25.	Explain the working of various liquid density measurements with necessary equations.