UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

Reg.No. _____________

End Semester Examination – Nov/Dec - 2016

|  |  | Semester : | 2016-17 ODD |
| --- | --- | --- | --- |
| Code : | 10EI210 | Duration : | 3 hrs |
| Sub. Name : | LOGIC AND DISTRIBUTED CONTROL SYSTEM | Max. marks : | 100 |

| Q. No. | Questions | Marks |
| --- | --- | --- |
| PART-A(10X1=10 MARKS) |  |  |
| 1. | What algorithm is used to design digital PID controller? | (1) |
| 2. | SCADA stands for___________________ | (1) |
| 3. | A coil must be inserted at the end of a rung. True/False. | (1) |
| 4. | List any two discrete input devices to sense the physical quantities. | (1) |
| 5. | What is the use of NEG function in PLC? | (1) |
| 6. | _________function is used in PLC to control multiple devices at a time | (1) |
| 7. | LLHI stands for_____________ | (1) |
| 8. | List any two major applications of DCS. | (1) |
| 9. | What digital communication bus is used in DCS? | (1) |
| 10. | What is topology? | (1) |

| PART B(5 X 3= 15 MARKS) |  |  |
| --- | --- | --- |
| 11 | Write overview of computer based process control system. | (3) |
| 12 | Illustrate the procedure for developing ladder diagram for PLC programming | (3) |
| 13 | Write short note on comparison functions used in PLC . | (3) |
| 14 | What are requirements of shared communication? | (3) |
| 15 | What are the differences between field bus and analog communication? | (3) |

| PART C(5 X 15= 75 MARKS) |  |  |  |
| --- | --- | --- | --- |
| 16. |  | With neat the block diagram explain the SCADA system used in the industrial applications. | (15) |
| (OR) |  |  |  |
| 17. |  | Illustrate the use of velocity algorithm and position algorithm of controller design. | (15) |
| 18. | a. | Construct PLC ladder diagram and connection diagram for the following problems. There are three machines, each with its own start –stop buttons. Any two may run at one time. Also any one may run by itself. Construct circuit with appropriate interlocking. | (6) |
|  | b. | A two way hydraulic cylinder has two solenoids controlling it. Energizing one solenoid causes the cylinder to extend and energizing the other solenoid causes it to retract. A limit switch at each end indicates full retraction or full extension. Use two starts – stop controls, one for each direction. Construct a control system with interlocks. | (9) |
| (OR) |  |  |  |
| 19. |  | Explain in detail about ON delay and OFF delay timer function of PLC programme with suitable examples. | (15) |
| 20. |  | Illustrate with suitable example of sequencer function used in PLC and write its advantages. | (15) |
| (OR) |  |  |  |
| 21. |  | Explain in detail about PLC Arithmetic functions and Number comparison functions. | (15) |
| 22. |  | Discuss about evolution of DCS and draw its architecture. | (15) |
| (OR) |  |  |  |
| 23. |  | Explain the requirement of LCU and discuss its various architecture function used in distributed control system. | (15) |
| 24. |  | Discuss in detail about communication protocol of HART device and its network. | (15) |
| (OR) |  |  |  |
| 25. |  | With help of architecture explain in detail Profi bus with appropriate example. | (15) |

ALL THE BEST