UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

Reg.No. _____________

End Semester Examination – Nov/Dec - 2016

|  |  | Semester : | 2016-17 ODD |
| --- | --- | --- | --- |
| Code : | 10EI211/ EI216 | Duration : | 3 hrs |
| Sub. Name : | BIOMEDICAL INSTRUMENTATION | Max. marks : | 100 |

| Q. No. | Questions | Marks |
| --- | --- | --- |
| PART-A(10X1=10 MARKS) |  |  |
| 1. | ___________ is the period of contraction of the ventricular muscles during time blood is pumped into the pulmonary artery and the aorta. | (1) |
| 2. | Interconnection between two neurons is termed as ______________ | (1) |
| 3. | What are the requirements of amplifiers used in biomedical recorders? | (1) |
| 4. | The recording and interpreting the electrical activity of eye is called ____________ | (1) |
| 5. | What is fibrin? | (1) |
| 6. | The technique of listening to sounds produced by organs and vessels of the body is called ____________ | (1) |
| 7. | What is meant by Defibrillator? | (1) |
| 8. | _______________ is used in modern surgery for reducing blood loss. | (1) |
| 9. | What is Diathermy? | (1) |
| 10. | ____________ is refers to a superficial tissue discoloration without affecting deep-seated tissues. | (1) |

| PART B(5 X 3= 15 MARKS) |  |  |
| --- | --- | --- |
| 11. | Define systolic and diastolic pressure. | (3) |
| 12. | List the different types of Surface electrodes. | (3) |
| 13. | What is the principle of Plethysmograph? | (3) |
| 14. | Give the non-surgical applications of LASER. | (3) |
| 15. | What is condenser method of shortwave diathermy? | (3) |

| PART C(5 X 15= 75 MARKS) |  |  |  |
| --- | --- | --- | --- |
| 16. | a. | Explain with neat sketch anatomy and conducting system of heart. Also discuss cardio vascular circulating system with block diagram. | (10) |
|  | b. | Discuss the anatomy of a single nerve cell. | (5) |
| (OR) |  |  |  |
| 17. | a. | What are resting and action potentials? Give an account on the different chemical compositions in the intra and extra cellular fluids and their effects in a cell. | (10) |
|  | b. | Explain the standard electrode lead II configuration in ECG with Einthoven triangle. | (5) |
| 18. | a. | With a neat sketch explain the working of electromagnetic blood flow meter. | (8) |
|  | b. | What is the concept of a Plethysmograph? Explain in detail. | (7) |
| (OR) |  |  |  |
| 19. | a. | Define Heart lung-machine. With a necessary diagram explain and compare the heart lung machine with the mechanical functions of the heart. | (9) |
|  | b. | Describe in detail about unipolar and bipolar limb lead system used for measuring ECG. | (6) |
| 20. | a. | An artificial kidney system must be protected from leaks across the dialyzing membrane. Design an instrumentation system that can provide this protection and describe its function. | (9) |
|  | b. | Explain the model of the heart lung machine with a neat sketch. | (6) |
| (OR) |  |  |  |
| 21. | a. | How is a nerve trunk stimulated in a peripheral nerve stimulator? Justify. | (8) |
|  | b. | Discuss in detail, the types of waveforms used in stimulators. | (7) |
| 22. | a. | What is meant by photometers? Describe flame photometer with a suitable block diagram. | (8) |
|  | b. | Define macro shocks and explain the various ways by which it can be induced. | (7) |
| (OR) |  |  |  |
| 23. | a. | Draw a circuit diagram of a pH meter and explain its working details. | (10) |
|  | b. | What are the requirements for the design of Oxygenators? | (5) |
| 24. | a. | With a necessary block diagram draw and explain Echocardiograph. | (6) |
|  | b. | Draw the block diagram of MRI system and explain the image reconstruction using it. | (9) |
| (OR) |  |  |  |
| 25. | a. | What do you mean by computer tomography? Give the mathematical details of obtaining X-ray image in CT. | (10) |
|  | b. | Draw the block diagram of a CT and explain the different blocks in it. | (5) |

ALL THE BEST