UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

Reg.No. _____________

End Semester Examination – Nov/Dec - 2016

|  |  | Semester : | 2016-17 ODD |
| --- | --- | --- | --- |
| Code : | 12EC238 | Duration : | 3 hrs |
| Sub. Name : | BIOMEDICAL INSTRUMENTATION | Max. marks : | 100 |

| Q. No. | Questions | Marks |
| --- | --- | --- |
| PART-A(10X1=10 MARKS) |  |  |
| 1. | A connection between two excitable cells, in the form of a contact surface between two neurons is called ____________________ | (1) |
| 2. | Thermocouple is a transducer and it works on ______________ effect. | (1) |
| 3. | Name the instrument that is used to get diagnostic information about hearing. | (1) |
| 4. | Piezoelectric type transducer is an __________________ transducer. | (1) |
| 5. | Name the instrument that is used to provide oxygen enriched, medicated air to a patient at a controlled temperature. | (1) |
| 6. | Name the machine that provides extra-corporeal circulation during open heart surgery. | (1) |
| 7. | Which is used to analyze urine or blood to determine the concentration of K,Na,Ca and Li? | (1) |
| 8. | Name the technique used for separating closely related chemical substances based on differences in the migration velocity. | (1) |
| 9. | Ultrasonic therapeutic aids are based on echo aspect and _____________shift aspect. | (1) |
| 10. | Name the electrical technique for conveying biological information from a living organism to a location where this information can be recorded or observed. | (1) |

| PART B (5 X 3= 15 MARKS) |  |  |
| --- | --- | --- |
| 11 | State the use of EEG and ECG. | (3) |
| 12 | What is the use of oximeter? State the formula to calculate oxygen saturation. | (3) |
| 13 | Draw the block diagram of anesthesia machine. | (3) |
| 14 | List the nature of substances used in mobile and stationary phase of liquid and gas chromatography. | (3) |
| 15 | Define Angiography. | (3) |

| PART C (5 X 15= 75 MARKS) |  |  |  |
| --- | --- | --- | --- |
| 16. | a. | Explain about the physiological nature of ECG waveform. | (5) |
|  | b. | With a block diagram of ECG recorder, explain its parts. | (10) |
| (OR) |  |  |  |
| 17. | a. | Explain about the brain waves detected using EEG. | (8) |
|  | b. | Explain the use of EEG in diagnosing brain disorders. | (7) |
| 18. | a. | Explain the working principle of electromagnetic blood flowmeters. | (9) |
|  | b. | List the applications of electromagnetic blood flowmeters. | (6) |
| (OR) |  |  |  |
| 19. | a. | With the help of a block diagram, explain the working of automatic Bekesy audiometer. | (10) |
|  | b. | List the disorders of hearing. | (5) |
| 20. | a. | Differentiate between external and internal pacemakers. | (7) |
|  | b. | With a block diagram, explain about the atrial synchronous pacemaker. | (8) |
| (OR) |  |  |  |
| 21. | a. | Compare hemodialysis and peritoneal dialysis. | (6) |
|  | b. | Explain about peritoneal dialysis. | (9) |
| 22. | a. | Explain the principle of working of spectrophotometer. | (6) |
|  | b. | Explain in detail about chromatography. | (9) |
| (OR) |  |  |  |
| 23. | a. | Explain the working principle of flame photometer. | (9) |
|  | b. | Explain about the pO2 electrode. | (6) |
| 24. | a. | Explain about the working of CT scanner with its block diagram. | (10) |
|  | b. | List the applications of computer tomography in diagnosing the problems in central nervous system. | (5) |
| (OR) |  |  |  |
| 25. | a. | List out the criteria to design a bio-telemetry system. | (6) |
|  | b. | With a help of a neat block diagram, explain about the single channel telemetry system. | (9) |

ALL THE BEST