# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – Nov/Dec – 2016

# Subject Title: 	BIO-MASS ENERGY								       Time : 3 hours

# Subject Code: 	12EE321								              	 Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

a.	Explain how the alternative sources of bio energy conversion play an important role in 	environmental aspects.													      (12)

b.	Interpret energy effectiveness and cost effectiveness of bio energy conversion system.(8)

2.	a.	Narrate in detail about chemical constitutions and physicochemical characteristics of 	biomass.																	      (12)

b.	What is gasification? Enumerate and discuss the various types of gasifier and its suitable 	applications.																	(8)

(OR)

3.	Discuss the various methods of thermo chemical processes in biomass conversion techniques.

4.	Narrate in detail about fermentation and anaerobic digestion processes of bio chemical conversion.

(OR)

5.	Describe the construction and operation of biogas generation with neat sketch.

6.	Briefly explain about biomass production from different organic wastes and residues.

(OR)

7.	a.	Discuss the various factors affecting yield of biogas plant.						      (12)

b.	Describe the functions of wood gasifier system in detail.							(8)

8.	a.	The following data are given for a family biogas digester suitable for the output of five 	cows, the retention time is 20 days, temperature 30°C , dry matter consumed per day

2 kg, biomass yield is 0.24 m3 per kg. The efficiency of burner is 60 % methane proportion is 0.8.heat of the combustion of methane 28 MJ/m3. Find

i.	The volume of biogas digester.

ii.	The power available from the digester.									      (12)

b.	Enumerate the design consideration of digester.									(8)

(OR)

9.	With a schematic layout, explain the processes of electricity production from biomass with its merits and demerits.