UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

Reg.No. _____________

End Semester Examination – Nov/Dec - 2016

|  |  | Semester : | 2016-17 ODD |
| --- | --- | --- | --- |
| Code : | 12EI239 | Duration : | 3 hrs |
| Sub. Name : | Ultrasonic Instrumentation | Max. marks : | 100 |

| Q. No. | Questions | Marks |
| --- | --- | --- |
| PART-A(10X1=10 MARKS) |  |  |
| 1. | Sound waves which have frequencies less than the audible range is called ______________ | (1) |
| 2. | Define Wave motion. | (1) |
| 3. | Illustrate the x-cut plate in a piezoelectric crystal. | (1) |
| 4. | What is inverse piezoelectric effect? | (1) |
| 5. | Resonance technique is used for ________________ measurement. | (1) |
| 6. | Mention the two types of ultrasonic testing. | (1) |
| 7. | Doppler Sonar is also known as ______________. | (1) |
| 8. | What is Welding? | (1) |
| 9. | Define Holography. | (1) |
| 10. | Define simple linear scan. | (1) |

| PART B(5 X 3= 15 MARKS) |  |  |
| --- | --- | --- |
| 11 | Write short notes on the intensity of progressive waves. | (3) |
| 12 | List out the advantages and disadvantages of pulse echo overlap method. | (3) |
| 13 | Write about the detection of defect in a test specimen using transit time measurement. | (3) |
| 14 | Discuss how ultrasonics can be used in rail inspection. | (3) |
| 15 | Write short notes on ultrasonic medical therapy. | (3) |

| PART C(5 X 15= 75 MARKS) |  |  |
| --- | --- | --- |
| 16. | Discuss in detail the different modes of Sound Wave Propagation. | (15) |
| (OR) |  |  |
| 17. | Derive the expression for Velocity and Energy of vibrating particle in Progressive Waves. | (15) |
| 18. | What is Magnetostriction Effect? Explain the generation of ultrasonic waves using Magnetostrictive method with a neat diagram. | (15) |
| (OR) |  |  |
| 19. | Explain the mechanical and optical methods for detecting ultrasonic waves. | (15) |
| 20. | Explain the Ultrasonic Flow and Level measurements in detail. | (15) |
| (OR) |  |  |
| 21. | Describe about the ultrasonic testing methods in detail. | (15) |
| 22. | Elaborate the Ultrasonic measurement of Thickness and Depth with necessary diagrams. | (15) |
| (OR) |  |  |
| 23. | Explain the working of different types of SONAR with a neat diagram. | (15) |
| 24. | Discuss about the different types of scans used in medical imaging and their clinical application. | (15) |
| (OR) |  |  |
| 25. | Explain the types of Holography in detail. | (15) |

ALL THE BEST