UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

Reg.No. _____________

End Semester Examination – Nov/Dec - 2016

|  |  | Semester : | 2016-17 ODD |
| --- | --- | --- | --- |
| Code : | 12EI242 | Duration : | 3 hrs |
| Sub. Name : | Power Plant Instrumentation | Max. marks : | 100 |

| Q. No. | Questions | Marks |
| --- | --- | --- |
| PART-A(10X1=10 MARKS) |  |  |
| 1. | What is renewable energy? | (1) |
| 2. | P&ID stands for_______ | (1) |
| 3. | Very high voltages are measured with ______ | (1) |
| 4. | What is the maximum temperature of boiler in thermal power plant? | (1) |
| 5. | _______range of pH value is following in feed water to boiler | (1) |
| 6. | Name the device mostly used to analyze the gas sample | (1) |
| 7. | ____________pressure is maintain in the boiler of power plant | (1) |
| 8. | What is the advantage of feed forward control? | (1) |
| 9. | What is the maximum rotational speed of the turbine? | (1) |
| 10. | __________power is generated from single turbine. | (1) |

| PART B(5 X 3= 15 MARKS) |  |  |
| --- | --- | --- |
| 11 | Compare renewable and non renewable energy | (3) |
| 12 | Define the use of potential transformer | (3) |
| 13 | List out impurities in feed water process | (3) |
| 14 | What is shrinking & swelling in boiler process? | (3) |
| 15 | Write short note on selection of turbine for power generation | (3) |

| PART C(5 X 15= 75 MARKS) |  |  |  |
| --- | --- | --- | --- |
| 16. | a. | With neat sketch explain working principle of wind power generation | 8 |
|  | b. | Write short notes on nuclear power plant. | 7 |
| (OR) |  |  |  |
| 17. | a. | With detailed block diagram explain the working principle of thermal power plant | 10 |
|  | b. | Write salient features of solar power plant | 5 |
| 18. | a. | Discuss power measurement in thermal power plant | 7 |
|  | b. | Write the importance of Water level measurement in boiler | 8 |
| (OR) |  |  |  |
| 19. | a. | Explain the function of smoke detector using optical method. | 7 |
|  | b. | Explain in detail about steam pressure measurement in thermal power plant | 8 |
| 20. | a. | Discuss in detail about oxygen measurement in flue gas. | 8 |
|  | b. | With neat sketch explain the working principle of pH analyzer | 7 |
| (OR) |  |  |  |
| 21. | a. | Explain Wallace and Tierman dissolved oxygen analyzer. | 8 |
|  | b. | With neat diagram explain about gas chromatography | 7 |
| 22. | a. | Draw & explain the generalized structure of cascade control scheme for steam temperature control | 5 |
|  | b. | With neat sketch explain the drum level control loops in water circuit. | 10 |
| (OR) |  |  |  |
| 23. | a. | Write short note on combustion control in thermal power plant | 5 |
|  | b. | What are the difference levels of DCS in power plant and explain each of its level | 10 |
| 24. | a. | With neat sketch explain shell temperature monitoring and control | 8 |
|  | b. | Explain in detail about basic safety interlocks used in boiler | 7 |
| (OR) |  |  |  |
| 25. | a. | Why should be the pressure of steam be raised in the boiler and turbine? | 5 |
|  | b. | How are speed and vibration monitored in power plant? | 10 |

ALL THE BEST