# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – Nov/Dec – 2016

# Subject Title: 	MATERIALS CHARACTERIZATION				       Time : 3 hours

# Subject Code: 	12ME348									       	 Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

a.	Describe the working principle of Gas chromatography in detail with a neat sketch.   (10)

b.	Explain the functioning of Differential scanning calorimetry and also list the several types of DSC. 															      (10)

2.	a.	Explain the importance of microhardness testing and the procedure adopted for micro 	hardness testing in detail. 													      (15)

b.	Explain the following terms in Optical microscopy: a) numerical aperture. 			(5)

(OR)

3.	a.	Enlighten the principle and procedure for testing using polarized light microscopy in 	detail with a neat sketch. 													      (15)

b.	Explain the term resolving power in Optical microscopy. 							(5)

4.	a.	What is the function of diffractometer? Explain the several methods of X-ray diffraction 	used in materials characterization. 											      (15)

b.	State Bragg’s Law. 															(5)

(OR)

5.	a.	Explain the Back-reflection and Transmission Laue method of X-ray diffraction 	technique in detail. 														      (10)

b.	Appraise the application of X-ray diffraction techniques in material characterization in 	detail. 																	      (10)

6.	a.	Justify the importance of using Scanning Electron microscopy in electron optical 	techniques in detail with a neat sketch. 										      (15)

b.	List down the application of SEM. 												(5)

(OR)

7.	a.	Explain the Principle of Transmission Electron Microscope. Describe the procedure for 	specimen preparation for TEM in detail. 									      (10)

b.	Appraise the principle of working of High resolution transmission Electron microscope in detail. 																      (10)

8.	a.	Demonstrate the Differential Thermal Analysis in detail. Also give the application of 	DTA. 																	      (10)

b.	Explain the process of Electron Spectroscopy for Chemical Analysis (ESCA) in detail.																		      (10)

(OR)

9.	a.	Elaborate the technique of x-ray photon spectroscopy in detail with a neat sketch.      (10)

b.	Develop the principle of operation of Auger electron microscopy in detail. 		      (10)