# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – Nov/Dec – 2016

# Subject Title: 	DISTRIBUTED GENERATION						       Time : 3 hours

# Subject Code: 	14EE3024								              	 Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

Briefly explain the following DG Units with necessary diagram and Principles

- Wind Generators. 																(8)

- Photovoltaic Generators.														(7)

c.	Fuel Cells.																	(5)

2.	a.	Differentiate between Power Grid and Micro grid in detail.						(8)

b.	Explain briefly the impact of DG on Distribution system and on Transmission system.									           										      (12)

(OR)

3.	a.	Write short notes on IEEE 1547 standards in respect of interface with the Grid.	      (10)

b.	Discuss the advantages and disadvantages of DG in detail.		            			      (10)

4.	Explain briefly the Power Electronics Topologies for Micro turbines and for Reciprocating Engines.

(OR)

5.	Discuss in detail the power electronic topologies for Fuel Cell systems and for the Battery Energy storage systems.

6.	a.	What is the significance of DG Grounding? Bring out various issues with respect to DG 	Grounding. How to overcome these issues?			           					      (10)

b.	Write short notes on Transient response and fault behaviors.					      (10)

(OR)

7.	List the various Power Quality issues with respect to DG. Explain in detail the DG design consideration required to meet the Power Quality requirements.

8.	Give the principle behind Micro grid concept. Explain in detail the Micro grid concept with a suitable architecture. Give the advantages of Micro grid.

(OR)

9.	a.	Discuss in detail about a centralized Power architecture.			          		      (10)

b.	Explain the concept of distributed controls and autonomous controls.	          	      (10)