# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination –  Nov/Dec 2016

# Subject Title: 	COMMUNICATIONS AND CONTROL IN SMART GRID												       								       Time : 3 hours

# Subject Code: 	14EE3025										 Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	a.	Explain the Protocols used in SCADA.						 				      (10)

b.	Discuss about the threats to SCADA systems.					 			      (10)

2.    a. 	Discuss about the Issues of Demand Response in smart grid communication.	      (15)

b. 	Explain the drawbacks of smart grid communication systems.						(5)

(OR)

3.    a. 	Explain the characteristics of smart grid communication systems.				      (10)

b. 	Discuss about the communication needs of smart grid communication systems.	      (10)

4.	Describe the wireless network solutions in smart grid communication systems.

(OR)

5.    a. 	Explain the functions of smart grid communication components.				      (12)

b. 	Discuss about the communication standards, challenges and protocols of smart grid

communication systems.														(8)

6.    Describe the role of Phase Measurement Unit systems in smart grid.

(OR)

7. Explain the concepts, applications, Security Measurements of Advanced metering 	infrastructure.

8.     a. 	Review the mitigation techniques used in cyber security system?				      (12)

b. 	Discuss the needs and requirements for security functions in smart grid.				(8)

(OR)

9.	Explain the pricing and energy consumption scheduling models for smart grid applications.