UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

# Reg. No. ________

# End Semester Examination – Nov / Dec – 2016

# Subject Title: 	MEDICAL RADIATION DOSIMETRY				       Time : 3 hours

# Subject Code: 	15PH3022								              	 Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

Compulsory:

1.	a.	Explain the condition of charged particle equilibrium. 							(5)

b.	Derive the relation between kerma, exposure and absorbed dose under charged particle equilibrium. 																      (10)

c.	Derive effective dose from absorbed dose and compare their units. 					(5)

2. 	a.	Explain the Rutherford’s model of the atom. 										(5)

b.	Explain the various modes of radioactive decay. 								      (10)

c.	When will 3 mCi of I-131 (Half life = 8.05 days) and 2 mCi of P-32 (Half life = 14.3 days) have equal activities? 													(5)

(OR)

3.	a.	Explain the Bohr’s model of the hydrogen atom. 								      (10)

b.	Calculate the number of atoms in 1 g of Ra- 226. What is the activity of 1 g of Ra- 226 (Half life = 1,622 years)? 														(5)

c.	Draw the energy level diagram for a multielectron atom (lead). 					(5)

4.	a.	Derive the photon beam attenuation equation. 									(5)

b.	Explain the various types of interaction of photons with matter. Discuss their application and relative importance. 													      (15)

(OR)

5.	a.	Define Intensity, energy transfer coefficient, energy absorption coefficient, mass energy 	stopping power and LET. 													      (10)

b.	Explain the interaction of electrons with matter. 									(5)

c.	Explain the interaction of neutrons with matter. 									(5)

6.	a.	Describe the properties of dosimeters. 											(5)

b.	Discuss the various types of ionization chamber based dosimetry systems. 		      (15)

(OR)

7.	a.	Draw the calibration curve of film dosimeter and discuss its regions. 				(5)

b.	Draw the glow curve of TLD reader and discuss it. 								(5)

c.	Compare the advantages and disadvantages of commonly used dosimeters. 		      (10)

8.	a.	Explain the various quantities which affect the chamber signal in ionization chamber 	based dosimetry. 															      (15)

b.	Write a note on “phantoms”. 													(5)

(OR)

9.	a.	Explain the absorbed dose to water based protocols to determine the absorbed dose using 	ionization chambers. 														      (10)

b.	Explain the calibration of megavoltage electron beams based on the air kerma in air 	calibration coefficient. 														(5)

c.	Describe the air kerma based in-phantom calibration method for medium energy 	kilovoltage beams. 															(5)