# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – Nov/Dec – 2016

# Subject Title: 	NANOMATERIALS CHARACTERIZATION METHODS												       									Time : 3 hours

# Subject Code: 	16NT3001										 Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

a.	Explain the working principle of Scanning Electron Microscope. 					(5)

b.	Explain in detail the interaction mechanism of electrons with the samples, image formation and specimen preparation methods for SEM. 						      (10)

c.	Explain the theory of near -field optical microscopy?								(5)

2.	a.	Explain the instrumentation of X-ray diffractometer in brief with a neat schematic 	diagram. 																	(7)

b.	Explain the physical principles of continuous and characteristic X-ray generation with necessary diagrams. 															(5)

c.	Explain theoretical background of diffraction in detail like Bragg’s law, reciprocal lattice, ewald sphere. Also write a note on diffraction intensity. 					(8)

(OR)

3.	a.	Explain the diffraction measurements using low-energy electron diffraction (LEED) and 	write the application of LEED. 											      (10)

b.	Explain the principle and applications of neutron diffraction. Explain the difference between X-ray and neutron diffraction. 										      (10)

4.	a.	Explain the principle and working of RHEED. Discuss the advantages of RHEED over 	LEED and list the uses of RHEED. 											      (10)

b.	Explain the instrumentation of EELS and the inner shell spectroscopy in EELS.	      (10)

(OR)

5.	a.	Explain in detail the determination of particle size using dynamic light scattering. 	(8)

b.	Explain the various factors that influences the quality of DLS measurement. 		(5)

c.	Explain the principle and working of nano indentation for measuring the mechanical 	properties of a material. 														(7)

6.	a.	Explain in brief the instrumentation, operation and applications of TEM. 		      (15)

b.	Discuss in detail the observables from HRTEM.									(5)

(OR)

7.	a.	Explain the principle and working of STEM. 								      (10)

b.	Explain in detail the various STEM analysis modes.								(5)

c.	Write some applications of STEM. 												(5)

8.	a.	Explain the working principle of scanning tunneling microscope with a neat diagram. (8)

b.	Explain in detail tunneling current, probe tips and working environment of STM. 	 (7)

c.	Write the principle of EDAX? Explain in brief how the EDAX spectra will be generated 	and analyzed? 																 (5)

(OR)

9.	a.	Explain the operational modes of AFM with the appropriate diagrams. 				 (8)

b.	Explain the different types of near-field forces acting between the tip and the sample in AFM. 																		 (7)

c.	Explain the working principle of XPS.	 										 (5)