Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June – 2017

| Code : | 14EE2007 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | INDUCTION AND SYNCHRONOUS MACHINES | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. |  | Explain the construction and working principle of Three Phase Induction Motor with necessary diagrams. | CO1 | 20 |
| (OR) |  |  |  |  |
| 2. |  | Discuss about the different methods of controlling the speed of Three Phase Induction Motor. | CO1 | 20 |
| 3. |  | Explain how a revolving magnetic field is established in a single phase induction motor based on double field revolving theory. Derive the torque equation of a single phase induction motor. | CO1 | 20 |
| (OR) |  |  |  |  |
| 4. |  | Discuss about the various types of single phase induction motor with neat circuit diagram. | CO1 | 20 |
| 5. | a. | Derive the EMF equation of an alternator. | CO2 | 10 |
|  | b. | Define Voltage regulation. Mention the methods of determining the voltage regulation of an alternator. | CO2 | 5 |
|  | c. | Compare and Constrast EMF method with MMF method. | CO2 | 5 |
| (OR) |  |  |  |  |
| 6. | a. | State the conditions for synchronization of alternators. | CO3 | 3 |
|  | b. | Discuss briefly about the methods of synchronization of alternators. | CO3 | 7 |
|  | c. | Derive the expression for synchronizing power and synchronizing torque | CO3 | 10 |
| 7. |  | Based on V curve and inverted V curve, discuss about the effect of excitation on armature current and power factor. | CO2 | 20 |
| (OR) |  |  |  |  |
| 8. |  | Explain why a synchronous motor is not a self-starting motor. Write notes on the methods of starting the synchronous motor. | CO2 | 20 |
|  |  | Compulsory: |  |  |
| 9. |  | Based on two reaction theory, explain how the direct and quadrature axis reactances can be determined using slip test. | CO2 | 20 |

ALL THE BEST