Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June – 2017

| Code : | 14EE2010 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | POWER ELECTRONICS | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. |  | Explain the structure, operation, switching characteristics of the IGBT. | CO1 | 20 |
| (OR) |  |  |  |  |
| 2. | a. | Draw and explain the switching characteristics of MCT. | CO1 | 10 |
|  | b. | Explain the following terms with reference to IGCT: (i) Buffer layer (ii) Transparent emitter (iii) Reverse conduction | CO1 | 10 |
| 3. | a. | Define one-quadrant converter and two-quadrant converter. | CO1 | 5 |
|  | b. | Enumerate the requirements of Good inverter. | CO2 | 15 |
| (OR) |  |  |  |  |
| 4. |  | Draw and explain the operation of a single-phase full converter bridge with RLE load with necessary waveforms. Also, derive the average and RMS output voltage of the rectifier. | CO2 | 20 |
| 5. | a. | Explain the operation of a three phase fully controlled six pulse converters with a neat circuit diagram and waveforms. | CO2 | 10 |
|  | b. | Draw the block diagram of Rotating type UPS system based on dc motor / alternator setup. | CO2 | 10 |
| (OR) |  |  |  |  |
| 6. |  | Explain the operation of three phase VSI bridge inverter in 180 degree mode conduction with necessary circuit diagram and waveforms. Derive the expression for the RMS value of phase voltage and line voltage. | CO2 | 20 |
| 7. | a. | Describe the working of type-E chopper with relevant circuit diagrams and its operation in all the four quadrants. | CO2 | 15 |
|  | b. | List out the application of IGBT? | CO2 | 5 |
| (OR) |  |  |  |  |
| 8. |  | Describe the basic principle and working of single-phase to single-phase step-down cycloconverter for both continuous and discontinuous conductions for a bridge type cycloconverter with sketch the neat waveforms. | CO3 | 20 |
|  |  | Compulsory: |  |  |
| 9. |  | Describe the working of a single phase basic series inverter with appropriate circuit and waveforms. | CO3 | 20 |

ALL THE BEST