Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June – 2017

| Code : | 14EE2018 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | ENERGY SYSTEMS | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. |  | Draw a typical layout of a thermal power plant and describe the function of the following components: - Coal and ash handing plant - Steam generating plant - Steam turbines - Feed water circuit and - Cooling water circuit | CO1 | 20 |
| (OR) |  |  |  |  |
| 2. | a. | “The non-conventional methods were known to man since time immemorial, still they were not developed”, Comment and give reasons. | CO1 | 10 |
|  | b. | With neat diagram, explain the stand-alone photovoltaic system. | CO1 | 7 |
|  | c. | Discuss the various factors on which the wind power depends. | CO1 | 3 |
| 3. | a. | With neat sketches, discuss the various methods of tidal power generation and give its limitations of each method. | CO1 | 10 |
|  | b. | Describe the construction and principle of operation of a flat plate solar energy collector with a neat diagram. | CO1 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | A power plant has to supply loads as follows: 12 PM to 5 AM; 500 kW. 5 AM to 10 AM; 800 kW. 10 AM to 12 Noon; 2000 kW. 12 Noon to 2 PM; 1000 kW. 2 PM to 5 PM; 2500 kW. 5 PM to 8 PM; 2000 kW. 8 PM to 10 PM; 1500 kW. 10 PM to 12 PM; 1000 kW. Determine the load factor and select a suitable number and size of units to supply this load. Reliability of supply is to be maintained. Determine the reserve capacity, the plant capacity factor, plant use factor and the operating schedule of the plant to meet the load. | CO1 | 10 |
|  | b. | Discuss various costs that go into the generation of electrical energy. | CO1 | 10 |
| 5. | a. | With neat tabular column and an example, discuss the ten steps of detailed energy audit and also suggest the concluding remarks for your example in terms of energy conservation. | CO1 | 15 |
|  | b. | Discuss the effects of harmonics in end users and the methods to mitigate them. | CO1 | 5 |
| (OR) |  |  |  |  |
| 6. | a. | Describe photovoltaic method of photometry and discuss its limitations. | CO2 | 10 |
|  | b. | An illumination on the working plane of 32 lux is required in a room 80m x 15m. The lamps are required to be hung 4.5m above the work bench. Assume a utilization factor of 0.5, lamp efficacy of 14 lumens per watt, and candle power depreciation of 0.2,estimate the number rating and disposition of the lamps. Assume a maximum permissible value of spacing to height ratio of 1.5. | CO2 | 10 |
| 7. | a. | Discuss the advantages of electricially produced heat. State the properties of a heating element that you will look for. | CO2 | 10 |
|  | b. | Explain with neat sketches, the construction, principle of operation and application of Ajax Wyatt furnace. | CO2 | 10 |
| (OR) |  |  |  |  |
| 8. |  | Describe various types of electric arc welding processes with neat diagrams. | CO2 | 20 |
|  |  | Compulsory: |  |  |
| 9. | a. | List down the requirements of an ideal traction system. | CO2 | 5 |
|  | b. | Derive an expression for tractive effort during acceleration in mechanism of train movement. | CO2 | 15 |

ALL THE BEST