UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

Reg.No. _____________

Supplementary Examination – JUNE – 2017

| Code : | 14EE2026 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | HIGH VOLTAGE ENGINEERING | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. |  | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- | --- |
| 1. | a. |  | Explain with neat sketches the mechanism of lightning discharge. | CO 1 | 10 |
|  | b. |  | What are ground rods and counterpoises? Explain clearly how these can be used to improve the grounding conditions. Give various arrangements of counterpoise. | CO 1 | 10 |
|  |  | (OR) |  |  |  |
| 2. | a. |  | Describe the construction, principle of operation and application of (i) Expulsion gap; and (ii) Valve type lightning arrester. | CO 1 | 10 |
|  | b. |  | What are volt-time curves? What is their significance in power system studies? | CO 1 | 10 |
| 3. | a. |  | Explain the mechanism of development of anode and cathode streamers and explain how these lead to breakdown. | CO 3 | 10 |
|  | b. |  | Describe briefly various mechanism of breakdown in solids. | CO 3 | 10 |
|  |  | (OR) |  |  |  |
| 4. | a. |  | Explain the process of breakdown in electronegative gases. | CO 3 | 10 |
|  | b. |  | Explain clearly various processes which explain electric breakdown in vacuum | CO 3 | 10 |
| 5. | a. |  | Explain and compare the performance of half wave rectifier and voltage doubler circuits for generation of high d.c. voltages. | CO 2 | 10 |
|  | b. |  | Explain with neat diagram the principle of operation of series resonant circuits for generating high a.c. voltages. | CO 2 | 10 |
|  |  | (OR) |  |  |  |
| 6. | a. |  | Describe with neat diagram the principle of operation, application and limitations of Van de Graf generator. | CO 2 | 10 |
|  | b. |  | Describe the construction, principle of operation and application of a multistage Marx's Surge Generator. | CO 2 | 10 |
| 7. | a. |  | Explain with neat diagram the principle of operation of an Electrostatic Voltmeter. | CO 2 | 10 |
|  | b. |  | Discuss and compare the performance of capacitance potential dividers for measurement of impulse voltages | CO 2 | 10 |
|  |  | (OR) |  |  |  |
| 8. | a. |  | Draw a neat schematic diagram of a generating voltmeter and explain its principle of operation. Discuss its application and limitations. | CO 2 | 10 |
|  | b. |  | Discuss the performance of resistance potential dividers for measurement of impulse voltages. | CO 2 | 10 |
|  |  |  | Compulsory: |  |  |
| 9. | a. |  | List out various tests to be carried out on insulator and give a brief account of each test. | CO 3 | 10 |
|  | b. |  | Describe various tests to be carried out on C.B. | CO 3 | 10 |

ALL THE BEST