Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June – 2017

| Code : | 14EE2032 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | RENEWABLE ENERGY II | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Describe in detail about the various types of Biomass conversion Technologies. | CO1 | 12 |
|  | b. | Compare the different types of biogas plants. | CO2 | 8 |
| (OR) |  |  |  |  |
| 2. |  | Discuss the following biomass conversion technologies: - Physical Method - Incineration - Thermochemical - Biochemical | CO1 | 20 |
| 3. | a. | Explain the desirable features of bio ethanol that makes it suitable as automobile fuel.What grade of bio ethanol is required for blending with petrol and why? | CO1 | 10 |
|  | b. | Calculate :i) the volume of a biogas digester suitable for the output of four cows, and ii). the power available from the digester . Retention time is 20 days, at temperature 300celsius, dry matter consumed 2kg/day, bio-gas yields 0.24 m3 per kg. Burner efficiency is 60%, methane proportion is 0.8. Hm the heat of combustion of methane may be assumed to be 28MJ/ m3 at STP. | CO2 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Explain the process of production of biogas from biomass. What are the main advantages of anaerobic digestion of biomass? | CO1 | 15 |
|  | b. | What are the factors affecting the performance of a biogas digester? | CO2 | 5 |
| 5. |  | List down the types of hydropower plants based on different heads with neat diagrams.What are the advantages and limitations of small hydro electric power plants? Discuss the site selection in small hydro electric power plants. | CO2 | 20 |
| (OR) |  |  |  |  |
| 6. | a. | Derive the expression for Energy Content and Energy Extraction of Hot Dry Rock of Geothermal Resources. | CO2 | 15 |
|  | b. | Explain the operation of an oscillating water type of wave device. | CO1 | 5 |
| 7. | a. | With the help of a neat diagram and equations, explain the working of Phosphoric Acid Fuel Cell (PAFC). | CO2 | 15 |
|  | b. | State the applications of fuel cell and its limitations. | CO2 | 5 |
| (OR) |  |  |  |  |
| 8. |  | Explain about the Claude and Anderson cycles in Ocean Thermal Energy Conversion System. (OTEC). | CO2 | 20 |
|  |  | Compulsory: |  |  |
| 9. | a. | Explain in brief about any two methods used in hydrogen production. | CO2 | 14 |
|  | b. | Write a short note on i) Compressed Gas Storage ii) Liquid Storage. | CO2 | 6 |

ALL THE BEST