Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June – 2017

| Code : | 14EE2036 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | SMART GRID | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | a. | List the Characteristics and benefits of smart grid. | CO1 | 10 |  |  |  |  |
|  | b. | Compare Traditional grid and smart grid. | CO1 | 10 |  |  |  |  |
| (OR) |  |  |  |  |  |  |  |  |
| 2. | a. | Describe the various communication channels used in smart grid communication. | CO2 | 10 |  |  |  |  |
|  | b. | Illustrate the key Components of smart metering and draws its functional block diagram. | CO2 | 10 |  |  |  |  |
| 3. | a. | What are the different levels of attacks in smart grid communication? | CO2 | 10 |  |  |  |  |
|  | b. | Write short notes on transposition cipher. | CO2 | 10 |  |  |  |  |
| (OR) |  |  |  |  |  |  |  |  |
| 4. | a. | Brief about message digest (MD) in digital signature. | CO2 | 10 |  |  |  |  |
|  | b. | Illustrate the authentication based on key distribution centre and shared secret key. | CO2 | 10 |  |  |  |  |
| 5. | a. | Compare conventional meter and smart meter. | CO1 | 5 |  |  |  |  |
|  | b. | List out the benefits of the smart metering. | CO2 | 5 |  |  |  |  |
|  | c. | How to deploy AMI in smart grid network? | CO3 | 10 |  |  |  |  |
| (OR) |  |  |  |  |  |  |  |  |
| 6. | a. | Brief about RTU and PMU. | CO2 | 10 |  |  |  |  |
|  | b. | Draw the architecture of WAMS and illustrate its functional blocks. | CO3 | 10 |  |  |  |  |
| 7. | a. | Discuss about the functions of SCADA and its challenges and threats in power system network. | CO3 | 16 |  |  |  |  |
|  | b. | What are the important factors for assessment of smart metering communication protocols? | CO2 | 4 |  |  |  |  |
| (OR) |  |  |  |  |  |  | CO3 | 14 |
| 8. | a. | Brief about Super conducting magnetic energy storage system. | CO3 | 14 |  |  |  |  |
|  | b. | How the electrical energy is stored in an electrostatic field? Explain with relevant diagram. | CO3 | 6 |  |  |  |  |
|  |  | Compulsory: |  |  |  |  |  |  |
| 9. |  | Illustrate about the following (i) Modbus IEC 61850 (ii) IEEE 802 series communication protocol (iii) Power Line Communication | CO2 | 20 |  |  |  |  |

ALL THE BEST