Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June – 2017

| Code : | 14EI2013 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | INDUSTRIAL DATA COMMUNICATION AND NETWORKS | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Explain the different transmission modes in detail. | CO2 | 12 |
|  | b. | Analyze the causes for transmission impairment in Industrial Data communication. | CO2 | 8 |
| (OR) |  |  |  |  |
| 2. | a. | With a neat diagram, explain about the layers present in the Open System Interconnection model. | CO3 | 14 |
|  | b. | Discuss on the different addressing modes in TCP/IP Protocol. | CO1 | 6 |
| 3. | a. | Describe how UART functions as transmitter and receiver with necessary diagrams. | CO3 | 10 |
|  | b. | Give explanation about the different types of Physical Topology in a Network. | CO1 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Elucidate the features and specifications of RS485 interface standard in detail. | CO1 | 10 |
|  | b. | Generate the redundancy bits for transmitting the data 100100 and verify the error occurrence using CRC method . Assume the divisor as 1101. | CO2 | 8 |
|  | c | What are the operations performed by a Controller on the GPIB? | CO3 | 2 |
| 5. | a. | Explain the Electrical, Mechanical and Functional Specification of RS-232 Standard. | CO1 | 15 |
|  | b. | List out the features of RS 423 serial interface standard. | CO1 | 5 |
| (OR) |  |  |  |  |
| 6. | a. | Describe the HDLC protocol in detail. | CO2 | 12 |
|  | b. | Elaborate on the industrial protocol that superimposes digital information over the existing 4mA to 20mA current loop. | CO1 | 8 |
| 7. | a. | Explain the different random access control mechanisms with suitable examples. | CO2 | 12 |
|  | b. | If the 7-bit hamming code word received by a receiver is 1011011. Assuming the even parity state, check whether the received code word is correct or wrong. If wrong locate the bit having error. | CO2 | 8 |
| (OR) |  |  |  |  |
| 8. | a. | Discuss the architecture of field bus communication protocol. | CO3 | 12 |
|  | b. | Elaborate on Binary Synchronous Control Protocol and its limitations. | CO3 | 8 |
|  |  | Compulsory: |  |  |
| 9. | a. | Discuss in detail about the IEEE 802.11 Wireless LAN standard. | CO3 | 15 |
|  | b. | Describe the piconet network in Bluetooth Architecture. | CO2 | 5 |

ALL THE BEST