Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June – 2017

| Code : | 14EI2044 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | PLC & AUTOMATION | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Draw and explain the main block diagram of PLC. | CO1 | 15 |
|  | b. | List the advantages of PLC. | CO1 | 5 |
| (OR) |  |  |  |  |
| 2. |  | What is the need for field bus? Explain about the field bus system and field bus communication in detail. | CO2 | 20 |
| 3. |  | Write down all the mathematical instructions and explain its operation with examples for each. | CO2 | 20 |
| (OR) |  |  |  |  |
| 4. |  | Illustrate all the instructions used to compare two values with an example. | CO2 | 20 |
| 5. | a. | Name all the counters available in PLC. Explain any two in detail. | CO2 | 10 |
|  | b. | Design a PLC program and prepare a I/O connection diagram for the following counter specifications: - Counts the no. of times a push button is pressed. - Decrement the counter value each time a second push button is pressed. - Turns on a light any time the counter accumulated value is less than 8. - Turns on a second light when the counter value is equal to or greater than 8. - Resets the counter to zero when a selector switch is closed. | CO2 | 10 |
| (OR) |  |  |  |  |
| 6. |  | Explain the branching and looping instructions available in PLC. | CO2 | 20 |
| 7. | a. | Sketch the architecture of DCS and explain. | CO3 | 12 |
|  | b. | Differentiate SCADA and DCS. | CO3 | 8 |
| (OR) |  |  |  |  |
| 8. |  | What are the basis building blocks of Automatic Storage and Retrivel System? Explain in detail. | CO3 | 20 |
|  |  | Compulsory: |  |  |
| 9. |  | With a process automation example, explain the role of PLC and its working. | CO2 | 20 |

ALL THE BEST