Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2017

| Code : | 14BI2002 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | INSTRUMENTAL METHODS OF ANALYSIS | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Derive Henderson – Hesselbalch equation and its applications. | CO1 | 10 |
|  | b. | Write in detail about Good’s Buffer and its characteristics. | CO1 | 10 |
| (OR) |  |  |  |  |
| 2. |  | Write in detail the working principle, instrumentation and application of pH meter. | CO2 | 20 |
| 3. | a. | Explain in detail the Instrumentation, working principle and applications of UV-Visible spectrophotometer. | CO2 | 15 |
|  | b. | Write the applications of flame photometer. | CO2 | 5 |
| (OR) |  |  |  |  |
| 4. |  | Write in detail the working principle, instrumentation of Raman spectroscopy with a neat diagram. | CO1 | 20 |
| 5. |  | Explain in detail the Instrumentation, working principle of HPLC and its applications in the field of biotechnology. | CO1 | 20 |
| (OR) |  |  |  |  |
| 6. |  | Give a detailed account on instrumentation, working principle and applications of atomic absorption spectroscopy. | CO2 | 20 |
| 7. |  | Give a detailed account on GM counter and its applications. | CO3 | 20 |
| (OR) |  |  |  |  |
| 8. |  | Write the different applications of radioactive metals in medicine and diagnosis. | CO3 | 20 |
|  |  | Compulsory: |  |  |
| 9. |  | Explain in detail the role of differential scanning calorimeter (DSC) in the field of thermal analysis. | CO3 | 20 |

ALL THE BEST