Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April / May – 2017

| Code : | 14EE2032 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | RENEWABLE ENERGY II | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. |  | Discuss the following biomass conversion technologies - Physical Method ii) Incineration - Thermochemical iv) Biochemical | CO1 | 20 |
| (OR) |  |  |  |  |
| 2. | a. | Explain the desirable features of bio ethanol that makes it suitable as automobile fuel. What grade of bio ethanol is required for blending with petrol and why? | CO1 | 10 |
|  | b | What is transesterification? With the help of a neat sketch, explain the various process involved in the Bio-diesel production. | CO1 | 10 |
| 3. | a. | Explain the process of gasification of solid bio-fuels. What is the general composition of the gas produced and what is its heating value? What are its main application? | CO1 | 10 |
|  | b. | With help of neat diagram explain the working of biomass gasifier. What further processing is required to use the gas produced in the diesel engine? | CO1 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Calculate - the volume of a biogas digester suitable for the output of four cows, and - the power available from the digester . Retention time is 20 days, at temperature 300celsius, dry matter consumed 2kg/day, biogas yields 0.24 m3 per kg. Burner efficiency is 60%, methane proportion is 0.8. Hm is the heat of combustion of methane may be assumed to be 28MJ/ m3 at STP. | CO1 | 10 |
|  | b. | What are the factors affecting the performance of a biogas digester? | CO1 | 10 |
| 5. | a. | With help of neat diagram, explain the floating drum and fixed dome biogas plants. Give the comparison between floating drum biogas plants and fixed dome biogas plants. | CO1 | 15 |
|  | b. | Bring down the differences between aerobic and anaerobic digestion. | CO1 | 5 |
| (OR) |  |  |  |  |
| 6. | a. | Draw a conceptual block diagram of a fuel-cell power plant and explain the details of each block. | CO2 | 10 |
|  | b. | Explain the principle of operation of an proton exchange membrane fuel cell and discuss the merits and demerits. | CO2 | 10 |
| 7. | a. | Describe a liquid dominated systems or wet steam fields in geothermal resources. | CO2 | 10 |
|  | b. | Discuss the different types of water turbines used in hydro power plant. | CO2 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | With neat diagrams explain the Claude and Anderson cycles in ocean thermal energy conversion technology. | CO2 | 10 |
|  | b. | Derive the expression for finding the energy content and energy extraction in hot dry rock resources of geothermal resources. | CO2 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Explain various methods of production of hydrogen for use as energy carrier. | CO2 | 10 |
|  | b. | Discuss about the various methods of hydrogen storage. | CO2 | 10 |