Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April / May – 2017

| Code : | 14EE2033 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | HARMONICS & POWER QUALITY | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Explain the following related with Power quality. - Voltage imbalance - Under voltage - Over voltage - Frequency variation | CO2 | 16 |
|  | b. | Write the basic steps involved in PQ Evaluation. | CO1 | 4 |
| (OR) |  |  |  |  |
| 2. | a. | Define power quality? Explain the reasons for increased concern in power quality. | CO2 | 10 |
|  | b. | Examine the source and effects of different categories of Long duration voltage Variations. | CO2 | 10 |
| 3. | a. | Draw the load voltage waveform of the uncontrolled rectifier with RL load and after 20ms 10MW load is removed. | CO2 | 6 |
|  | b. | Name the mitigation techniques of voltage sag and explain any two techniques with necessary circuit diagram and waveforms. | CO2 | 14 |
| (OR) |  |  |  |  |
| 4. | a. | In a 3-phase AC main, there is voltage sag at PCC of 10, 20 and 30% of ABC phase for 5, 10 and 20 cycles. Calculate - Detroit Edison Sag Score (SS) - Voltage sag Energy - Voltage sag lost energy index (VSLEI) | CO1 | 8 |
|  | b. | Explain the different types of sag with a relevant vector diagram with proper equations. | CO2 | 12 |
| 5. | a. | Discuss the fundamental principle of over voltage protection of load equipments. | CO2 | 20 |
| (OR) |  |  |  |  |
| 6. |  | Explain in detail about surge arrestors and surge suppressors for over voltage Protection. | CO2 | 20 |
| 7. | a. | Draw the source current wave form of the uncontrolled rectifier with RL load. | CO2 | 10 |
|  | b. | What are harmonics? Explain harmonic distortion with relevant waveforms | CO3 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | A single phase fully controlled bridge converter is fed from supply of 220V at 50Hz at a thyristors firing angle of α=300 Consider continuous load current of 20A. compute (a)THD of AC mains current (b) DIN (c) TDD of AC mains current (d) DF (e)DPF (f) PF | CO3 | 12 |
|  | b. | Discriminate between linear and non linear load | CO2 | 8 |
|  |  | Compulsory: |  |  |
| 9. |  | Explain briefly about for the following harmonic filter. (a) Active filters (b) Passive filters | CO3 | 20 |