Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2017

| Code : | 14EE3015 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | HYDROGEN AND FUELCELL | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | List the properties of Hydrogen. | CO1 | 4 |
|  | b. | Briefly write about the process of steam reforming. | CO1 | 8 |
|  | c. | Explain the process of Hydrogen production through photodissociation in detail. | CO1 | 8 |
| (OR) |  |  |  |  |
| 2. | a. | Write about the different Hydrogen storage options. | CO1 | 10 |
|  | b. | Explain the gasification and woody biomass conversion process of H2 production. | CO1 | 10 |
| 3. | a. | Briefly write about the liquid Hydrogen and compressed gas storage. | CO1 | 8 |
|  | b. | Write short notes about photosynthesis. | CO1 | 12 |
| (OR) |  |  |  |  |
| 4. | a. | Briefly write about the Principle and working of fuel cell with suitable diagram. | CO2 | 12 |
|  | b. | Write about the fuel cell performance evaluation. | CO2 | 8 |
| 5. | a. | Which fuel is selected as most suitable fuel for the fuel cell operation? Give proper reasoning by comparing it with the other fuel properties. | CO2 | 10 |
|  | b. | Compare the properties of storage batteries with the properties of fuel cell. | CO2 | 10 |
| (OR) |  |  |  |  |
| 6. |  | Explain the different types of fuel cells along with its merits and demerits. | CO2 | 20 |
| 7. | a. | Briefly write about the proton conducting membranes used in the fuel cells. | CO2 | 8 |
|  | b. | Discuss about the operation of SOFC. | CO2 | 12 |
| (OR) |  |  |  |  |
| 8. | a. | Analyze the economic, Environmental issues related to hydrogen and fuel cell usage. | CO3 | 10 |
|  | b. | Write about the large scale power generation using the fuel cell. | CO3 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Write about the future trends of fuel cell. | CO3 | 8 |
|  | b. | Discuss the applications of fuel cells in automobile and space. | CO3 | 12 |

ALL THE BEST