Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2017

| Code : | SENSORS AND TRANSDUCERS | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | 14EI2001 | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | What are the basic blocks of a generalized instrumentation system? Draw the various blocks and explain their functions. | CO1 | 10 |
|  | b. | The following 10 observations were recorded when measuring a voltage: 41.7; 42; 41.8; 42; 42.1; 41.9; 42; 41.9; 42.5; 41.8. Find the (a) Mean, (b) Average deviation, (c) Standard deviation, (d) Probable error. | CO2 | 6 |
|  | c. | Distinguish between Passive and Active transducers citing suitable examples. | CO1 | 4 |
| (OR) |  |  |  |  |
| 2. | a. | Discuss in detail on the following static characteristics of transducers: Static sensitivity, Linearity, Hysteresis, Threshold, Resolution and Loading effects. | CO1 | 15 |
|  | b. | Derive the response of a first order system when subjected to a step input. | CO2 | 5 |
| 3. | a. | Describe the constructional details of a resistance potential divider and derive the expression for its output voltage when connected across a meter of finite resistance. | CO3 | 10 |
|  | b. | Describe the construction and working of resistance temperature detector. Enumerate the characteristics of different materials used for RTD. | CO3 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Derive the relation between Gauge factor and Poisson’s ratio. | CO2 | 10 |
|  | b. | Describe the construction and working of thermocouples. Explain the different types of compensations used. | CO3 | 10 |
| 5. | a. | How is an LVDT used in the measurement of pressure? Describe the construction and working of the same. | CO3 | 10 |
|  | b. | Elaborate on measurement of acceleration using a variable reluctance accelerometer. | CO2 | 10 |
| (OR) |  |  |  |  |
| 6. | a. | Describe the different principles of working of capacitive transducer used for the measurement of displacement. | CO2 | 10 |
|  | b. | Explain the construction and working of synchros as a position transducer with a neat sketch. | CO3 | 10 |
| 7. | a. | Describe the properties of piezo – electric crystals. Derive expressions for voltage and charge sensitivities. | CO3 | 10 |
|  | b. | How is displacement measured using Hall Effect transducer. | CO3 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Describe the different modes of operation of piezo-electric transducers. | CO2 | 10 |
|  | b. | Write short notes on generation of ultrasound using magnetostrictive transducer. | CO3 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Explain the working of digital shaft angle encoder with a neat diagram. | CO3 | 10 |
|  | b. | With neat sketch dicuss about working principle of optical sensor. | CO3 | 10 |

ALL THE BEST