Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2017

| Code : | 14EI2003 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | Electrical Measurements | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Derive the torque equation of a Moving Iron type Instrument. | CO1 | 10 |
|  | b. | Justify the necessity of controlling torque in indicating instruments. Discuss the spring control method of producing the same. | CO1 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Describe the construction and working of PMMC instrument. Derive its torque equation. | CO1 | 10 |
|  | b. | Discuss in detail about construction and working principle of ammeter and voltmeter. | CO1 | 10 |
| 3. | a. | Explain the construction and working of a Series Type Ohmmeter. Write down its design equations. | CO1 | 10 |
|  | b. | Describe how low resistance is measured with the help of Kelvin’s double bridge. Derive the equation for bridge balance. | CO3 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Describe how an unknown capacitance is measured with the help of Schering’s bridge | CO3 | 10 |
|  | b. | Discuss the principle of operation and construction of Single-Phase Induction Type Energy Meter with neat diagram. Discuss its advantages and disadvantages. | CO1 | 10 |
| 5. |  | Describe the working of Desaughty’s bridge for measurements of frequency. Derive the equations for balance condition. | CO3 | 20 |
| (OR) |  |  |  |  |
| 6. | a. | Discuss the principle of operation and construction of Dynamometer Type Watt Meter with neat diagram. Discuss its advantages and disadvantages. | CO1 | 15 |
|  | b. | Derive the torque equation for Power Factor Meter. | CO2 | 5 |
| 7. |  | Describe the principle of working of Wien’s bridge oscillator. Give its advantages and disadvantages. | CO1 | 20 |
| (OR) |  |  |  |  |
| 8. | a. | Describe the construction, working principle, merits and demerits of Potential Transformer. | CO1 | 15 |
|  | b. | Write the importance of calibration of electrical instruments. | CO1 | 5 |
|  |  | Compulsory: |  |  |
| 9. |  | Write short notes on: i) Self balancing recorder. ii) Galvanometer type recorders. | CO1 | 20 |

ALL THE BEST