Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2017

| Code : | 14EI2021 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | INSTRUMENTATION AND CONTROL IN PAPER INDUSTRY | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. |  | Discuss in detail about basic process of Paper making. | CO1 | 20 |
| (OR) |  |  |  |  |
| 2. | a. | Discuss in detail the chemical recovery process. | CO1 | 15 |
|  | b. | Justify the need of causticizer in paper industry. | CO1 | 5 |
| 3. | a. | How is the volumetric flow rate measured using Electromagnetic flow meter? Discuss in detail the Principle, construction and working of a magnetic flow meter. | CO1 | 5 |
|  | b. | Calculate the volumetric flow rate of a cylindrical pipe whose diameter is 7.5cm and the fluid velocity is 100cm/sec. | CO1 | 15 |
| (OR) |  |  |  |  |
| 4. |  | Discuss in detail about moisture measurement and pH measurement methods in Paper Industry. | CO1 | 20 |
| 5. |  | Discuss in detail about the two different methods of basis weight control. | CO1 | 20 |
| OR) |  |  |  |  |
| 6. |  | Explain in detail the process of brown stock washer level control. | CO1 | 20 |
| 7. |  | How is Graphical display different from Linear display? Discuss about them in detail. | CO1 | 20 |
| (OR) |  |  |  |  |
| 8. |  | Elaborate on the Blow down tank control and dryer temperature control. | CO1 | 20 |
|  |  | Compulsory: |  |  |
| 9. |  | What are the different types of control elements available in the industry? Write short notes on the types of control elements? | CO1 | 20 |

ALL THE BEST