Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – APRIL/MAY – 2017

| Code : | 14EI2023 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | OPTO ELECTRONIS AND LASER BASED INSTRUMENTATION | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions |  | Course Outcome | Marks |
| --- | --- | --- | --- | --- | --- |
| 1. | a. | How is a photo diode modified as a PIN diode and RAPD diode which is used as detectors for Fiber otpic transmission? With necessary diagram explain the construction and working of the same. |  | CO1 | 16 |
|  | b. | The speed of light in oil is measured to be 2.1 x 108 m/s. What is the index of refraction of the medium? |  | CO1 | 4 |
| (OR) |  |  |  |  |  |
| 2. | a. | Discuss in detail about the construction and working of surface emitting and edge emitting LED. |  | CO1 | 16 |
|  | b. | Optical fibers are generally composed of silica, with an index of refraction around 2.11. How fast does light travel in a silica fiber? |  | CO1 | 4 |
| 3. | a. | Discuss the advantages of fiber optic sensors and also explain how fiber optic cables are used in measuring Temperature, Pressure and Liquid level. |  | CO1 | 15 |
|  | b. | Explain in detail the principle of Total Internal Reflection. Also discuss about the types of fibers. |  | CO1 | 5 |
| (OR) |  |  |  |  |  |
| 4. | a. | Differntiate between intrinsic and extrinsic fiber optic sensors, Intensity modulated and phase modulated fiber optic sensors. Also discuss the measurement of strain and displacement using fiber optic sensor. | CO1 |  | 15 |
|  | b. | Calculate the energy of a photon of radiation that has a wavelength of 3.3µm. | CO1 |  | 5 |
| 5. | a. | Explain the construction and working of Ruby LASER in detail. | CO2 |  | 15 |
|  | b. | Differntiate Pulsed LASERS and Continous Wave LASERS. | CO2 |  | 5 |
| (OR) |  |  |  |  |  |
| 6. | a. | Discuss in detail the Active and passive methods of mode locking. | CO2 |  | 10 |
|  | b. | Elaoborate on the different methods of Q-switching. | CO2 |  | 10 |
| 7. |  | Explain the different types of LASER interaction with tissues. Also discuss in detail the application of LASERS in medicine. | CO3 |  | 20 |
| (OR) |  |  |  |  |  |
| 8. |  | Elaborate on the application of LASER in Material Processing. | CO3 |  | 20 |
|  |  | Compulsory: |  |  |  |
| 9. |  | What is holography? Explain in detail about the construction and reconstruction of hologram. | CO3 |  | 20 |

ALL THE BEST