Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April / May – 2017

| Code : | 14EI2024 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | POWER PLANT INSTRUMENTATION | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Explain the block diagram of nuclear energy generation system. | CO1 | 10 |
|  | b. | Discuss about the solar power generating system. | CO1 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Explain the methods and systems involved in generating wind power. | CO1 | 10 |
|  | b. | List the objectives of instrumentation in power plants. | CO1 | 6 |
|  | c. | A flow transmitter in hydroelectric power station has the range of 0-4000 gallons per hour. Find the calibration table for the flow transmitter using linear curve fitting method. | CO3 | 4 |
| 3. | a. | Differentiate economizer and air preheater. | CO2 | 4 |
|  | b. | List the merits of cogeneration system. | CO2 | 2 |
|  | c. | Discuss in detail about the process involved in thermal power generation. | CO1 | 14 |
| (OR) |  |  |  |  |
| 4. | a. | Mention the methods of electric power generation in India. | CO1 | 2 |
|  | b. | Write short notes on base load and peak load. | CO1 | 4 |
|  | c. | With a neat sketch explain the hydro electric power generation system. | CO1 | 14 |
| 5. | a. | A 11000:110 potential transformer is used along with a voltmeter reading 85.6 V. Estimate the value of line voltage. | CO3 | 2 |
|  | b. | Write short notes on pressure measurement in hot water pipelines. | CO2 | 4 |
|  | c. | Describe the working of CT and PT with necessary diagrams. | CO1 | 14 |
| (OR) |  |  |  |  |
| 6. | a. | Explain water flow measurement in the following configuration. a. DPT below pipeline b. DPT above the pipeline. | CO1 | 10 |
|  | b. | Calculate the potential drop across 250ohm when the 4mA current flows from a Differential Pressure transmitter. | CO3 | 2 |
|  | c. | Design a I/V converter used in process industries. | CO3 | 8 |
| 7. | a. | Design a V/I converter used in process industries. | CO3 | 10 |
|  | b. | The raw water pressure is to be measured with a pressure transmitter which is located 10m below the waterline. What is the absolute error and percentage error if the waterline pressure is 4.5 kg/cm2 and transmitter is calibrated for 0-5 kg/cm2 | CO3 | 6 |
|  | c. | Write short notes on pressure measurement in hot water pipelines. | CO2 | 4 |
| (OR) |  |  |  |  |
| 8. | a. | Explain the boiler drum level measurement system. | CO1 | 10 |
|  | b. | Elaborate the methodology of smoke and dust monitor. | CO2 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Explain the applications and advantages of Distributed control system in power plants. | CO3 | 12 |
|  | b. | Discuss the various schemes of Drum level control in detail. | CO1 | 8 |