Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2017

| Code : | 14ME2006 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | METROLOGY AND MEASUREMENT SYSTEMS | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Discuss the various types of errors in measuring instruments and also explain their causes and remedies. | CO1 | 12 |
|  | b. | Distinguish between 'Precision' and 'Accuracy' with suitable examples. | CO1 | 8 |
| (OR) |  |  |  |  |
| 2. |  | Define Error. Explain about the errors in measurements and its causes in detail. | CO1 | 20 |
| 3. | a. | With neat sketch explain the construction and working of a Vernier caliper. | CO1 | 15 |
|  | b. | Write the procedure for wringing of slip gauges. | CO1 | 5 |
| (OR) |  |  |  |  |
| 4. | a. | With neat sketch explain the construction and working principle of auto collimator. | CO1 | 14 |
|  | b. | With neat sketch, explain the uses of Angle dekkor. | CO1 | 6 |
| 5. |  | Define Straightness. Explain any two methods to measure the straightness of a surface. | CO1 | 20 |
| (OR) |  |  |  |  |
| 6. | a. | With neat sketch, explain the construction and working of Tool maker’s microscope. | CO1 | 14 |
|  | b. | Write short notes on Tomlinson surface meter. | CO1 | 6 |
| 7. |  | Define pitch diameter and explain how pitch diameter of screw thread is measured using three wire method | CO1 | 20 |
| (OR) |  |  |  |  |
| 8. | a. | With neat sketch, explain the working of Parkinson gear testing machine and list out its limitations | CO1 | 14 |
|  | b. | Derive the best wire diameter for measuring pitch diameter of a screw thread. | CO1 | 6 |
|  |  | Compulsory: |  |  |
| 9. | a. | With a neat sketch describe the construction and working of a coordinate measuring machine and outline its applications. | CO2 | 14 |
|  | b. | List the advantages of laser interferometer? | CO2 | 4 |
|  | c. | Define interferometry. | CO2 | 2 |

ALL THE BEST