Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April / May – 2017

| Code : | 15BT2004 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name: | BIOMATERIALS AND ARTIFICIAL ORGANS | Max. Marks: | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Illustrate and describe the process of Phagocytosis in detail and state its importance in Implantation and corresponding Immune response. | CO1 | 12 |
|  | b. | Elaborate the statement, “Is the Solution to a Problem in Biomaterials or in Biology?” | CO1 | 8 |
| (OR) |  |  |  |  |
| 2. | a. | Elucidate the need of Biocompatibility in Biomaterials in detail. | CO1 | 12 |
|  | b. | Relate the concept of Blood Compatibility and Blood Grouping in implantation process and its significance in the Circulatory system. | CO2 | 8 |
| 3. | a. | Elaborate the concept of Blood Compatibility and Blood Grouping. | CO2 | 10 |
|  | b. | Interpret in detail the significance of Eye Implants and Cochlear Implants. | CO2 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Extrapolate the significance of Polymeric Implant Materials and their Uses. | CO3 | 10 |
|  | b. | Discuss the properties of Metallic Implant Materials and their significance. | CO3 | 10 |
| 5. |  | Outline the general characteristic features of Soft Tissue Implants, their requirements and devices. | CO4 | 20 |
| (OR) |  |  |  |  |
| 6. | a. | Based on the Research Paper, “The Intersection of Biology and Materials Science” which we have discussed in class: Infer the Next Big Thing for Materials Science according? | CO1,3 | 14 |
|  | b. | Compare the Characteristic features of an Artificial Heart by showing the difference using a drawing of a section of the Human Heart. | CO5 | 6 |
| 7. | a. | Elucidate in detail the Advantages and Disadvantages of the Types of Heart Valves. | CO5 | 12 |
|  | b. | Describe the Article on “India-made heart pump at 1/3rd cost”, in Times Now on Jun 9, 2016. | CO5 | 8 |
| (OR) |  |  |  |  |
| 8. | a. | Based on the Research Paper, “The Intersection of Biology and Materials Science” which we have discussed in class: Describe in detail the Hierarchy from Molecules to Organisms and the Importance of Biological Assays in Biomedical Research. | CO1,3 | 14 |
|  | b. | What the Responses seen in the Human Body following an Injury? | CO2 | 6 |
|  |  | Compulsory: |  |  |
| 9. | a. | Elaborate the Characteristically significant features of Dental Implants and Estimate the impact on the present scenario and future of Dentistry. | CO5 | 12 |
|  | b. | Explain the Significance of Oxygenators and Total Artificial Heart (TAH). | CO5 | 8 |