Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2017

| Code : | 15EE2023 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | SUBSTATION DESIGN | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Draw the layout of Double Bus–Single Breaker Arrangement, Main and Transfer Bus Arrangement. | CO1 | 15 |
|  | b. | Mention any Five types of Disconnect Switch. | CO1 | 5 |
| (OR) |  |  |  |  |
| 2. | a. | Tabulate the Bus/Switching Configuration Comparison. | CO1 | 15 |
|  | b. | A disconnect switch is a mechanical device that conducts electrical current and provides an open point in a circuit for isolation – Mention any Five locations in a Substation. | CO1 | 5 |
| 3. | a. | The substation grounding system is an essential part of the overall electrical system – Give the reasons, types and possible circumstances of accidents. | CO1 | 5 |
|  | b. | Illustrate the two conditions that a person within or around the substation can experience that can cause them to become part of the accidental ground circuit. | CO1 | 15 |
| (OR) |  |  |  |  |
| 4. | a. | List out the Lightning parameters with its equation. | CO2 | 5 |
|  | b. | Explain the two classical design methods have been employed to protect substations from direct lightning strokes. | CO2 | 15 |
| 5. | a. | Circuit breakers are generally classified according to the interrupting medium used to cool and elongate the electrical arc permitting interruption – List out Five types. | CO2 | 5 |
|  | b. | Specify the technical parameters of 220kV/132kV/33kV class Potential Transformer Design. | CO2 | 15 |
| (OR) |  |  |  |  |
| 6. | a. | Elaborate the Need for Load Shedding In Generating, Transmission and Distribution Systems. | CO3 | 5 |
|  | b. | Describe rule-of-thumb design laws for unconfined bus bars operating at or near DC conditions in open space. | CO3 | 15 |
| 7. | a. | Summarize the advantages and disadvantages of analog and digital communication systems for Relay Communication requirements. | CO3 | 10 |
|  | b. | Describe thre concepts and solutions provided by IEC 61850 based on [i] Interfaces within a substation automation system. [ii] The engineering approach in IEC 61850. | CO3 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Explain with neat sketch, the two different topologies of a SCADA system. | CO3 | 10 |
|  | b. | Enumerate the Necessary Characteristics towards Modernization of the electric T&D system to maintain a reliable and secure infrastructure that can meet future demand. | CO3 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Develop a Smart Grid Technolgy Framework contain its major components. | CO3 | 10 |
|  | b. | Represent [i] Server-based substation control system architecture, [ii] Utility communication and security architecture with smart substation. | CO3 | 10 |

ALL THE BEST