Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: INSTRUMENTATION & CONTROL SYSTEMS			       Time: 3 hours

Subject Code: 09AE212				       						      	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	What is an error?

2.	What is calibration?

3.	A Thermistor has ____________ characteristics.

4.	An LVDT is used for ____________ measurement.

5.	What is dew point?

6.	Name two types of strain gauge.

7.	Define transfer function.

8.	Define proportional band.

9.	What is transient response?

10.	What is BIBO?

PART – B (5 x 3 = 15 MARKS)

11.	Distinguish between precision and accuracy with a suitable example.

12.	Define the laws of a thermocouple.

13.	What is a piezo electric transducer? Give some applications of it.

14.	Brief about a two position controller with an example.

15.	Explain the concept of stability along with the necessary condition for stability.

PART – C (5 x 15 = 75 MARKS)

16.	Explain the concept of a generalized measuring system.

(OR)

17.	Discuss about the classifications of errors with a suitable example.

18.	a. 	Explain about the measurement of temperature using a Hot wire anemometer.		(7)

b. 	Describe about the Bourdon gauge with a neat sketch.								(8)

(OR)

19.	a. 	Explain the measurement of frequency with a suitable diagram.					(7)

b. 	Discuss the working of a resistance thermometer in detail.							(8)

20.	Derive the expression of gauge factor for a strain gauge. Give the application of strain gauge.

(OR)

21.	a.	Explain about absorption hydrometer in detail.									(7)

b.	Describe the measurement of torque using a mechanical torsion meter.				(8)

[P.T.O]

22.	Using Signal flow graph obtain the transfer function for the system shown below.

(OR)

23.	a.	Explain the concept of Proportional, Integral and Derivative control modes.			(10)

b. 	Distinguish between the open loop and closed loop control systems.				(5)

24.	a.	Obtain the Response of a first order system for a Unit Step input.					(5)

b. 	Find the stability of the system using Routh array, whose characteristic equation is given by, S6 + 2S5 +8S4 +12S3 +20S2 +16S +16 = 0.									(10)

(OR)

25.	Plot the Bode diagram for the following transfer function and obtain the gain and phase cross over frequencies. G(s) = 10s(1+0.4s)(1+0.1s). (Use Semilog graph sheet)