Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: INSTRUMENTAL METHODS AND ANALYSIS			       Time: 3 hours

Subject Code: 09BI206				       						              Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	Define pH.

2.	What is meant by “pH of zero potential”?

3.	State Beer’s law.

4.	Make two comparisons between fluorimetry and absorption techniques.

5.	Define Partition ratio.

6.	Define the concept of HETP.

7.	Write the isotopes of Hydrogen.

8.	Write any two applications of radioisotopes in clinical diagnosis.

9.	What is the property measured in scanning calorimetry?

10.	Write the specific application of thermometric titrimetry.

PART – B (5 x 3 = 15 MARKS)

11.	Discuss potentiometric titration and its application.

12.	Explain the concept of absorptivity.

13.	Explain the principle of Ion-Exchange chromatography and its applications.

14.	What are the types of scintillation counting? Explain with a diagram.

15.	Explain the working of Differential thermal analysis.

PART – C (5 x 15 = 75 MARKS)

16.	Explain the principle and working of a glass electrode for the measurement of pH using suitable relationships and diagrams.

(OR)

17.	a.	Discuss the general procedure followed in the calibration of instruments.			(8)

b.	Explain the preparation of buffer solutions for various applications.					(7)

18.	Discuss the application of Beer-Lambert law in spectroscopic analysis and explain the instrumentation of a spectrophotometer.

(OR)

19.	Discuss the working principle of:	a.	Fluorimetry 		b.	Flame spectrometry

20.	a.	Explain the principle of adsorption chromatography and discuss the adsorbents used for 	various applications.															(7)

b.	Discuss the selection and attachment of ligand in affinity chromatography towards 	different applications.															(8)

(OR)

21.	a.	Explain the formation of polyacrylamide gel and discuss how the pore size is controlled.   																				(8)

b.	Discuss the application of isoelectric focusing.									(7)

[P.T.O]

22.	What are the types of radioactive decay and explain those which are most relevant to 	biochemists.

(OR)

23.	a.	Discuss the practical aspects of counting radioactivity and analysis of data.		 	(8)

b.	Discuss the applications of radioisotopes in biological sciences	.			 		(7)

24.	Explain the theory of thermal analysis for different thermoanalytical methods with the properties measured and instruments used.

(OR)

25.	Describe the construction and working of a differential scanning calorimeter.