Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: INSTRUMENTAL METHODS OF ANALYSIS				       Time: 3 hours

Subject Code: 09BT202			       						        	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	When pH falls by 1 unit, what is the change in the hydrogen ion concentration?

2.	Relationship between pH and pK is given by which equation?

3.	What are the types of filters used in a Fluorimeter?

4.	IR and Raman spectroscopy: In which instrument, atomic vibration is involved?

5.	What is the basic principle involved in chromatography?

6.	How will you calculate Rt?

7.	What are radiosensitive tumours?

8.	Which radio-active compound is used to measure glomerular filtration rate (GFR)?

9.	What does a DSC Measure?

10.	Define Exothermic.

PART – B (5 x 3 = 15 MARKS)

11.	When is a Buffer most effective?

12.	What is the purpose of having a mixing chamber in flame photometer?

13.	What are the factors influencing the separation of a molecule from the sample?

14.	What are the important toxic effects of radiation?

15.	What is meant by crystallization temperature (Tc)?

PART – C (5 x 15 = 75 MARKS)

16.	Derive and explain the Henderson-Hasselbalch Equation.

(OR)

17.	Explain the various calibration methods of instruments.

18.	Describe the principle and instrumentation of UV spectrophotometer.

(OR)

19.	Define Vibrational mode. Explain with an example.

20.	Explain the chromatography based on mechanisms of separation.

(OR)

21.	Explain the principle and applications of Gas Chromatography.

22.	Discuss the working principle of GM counter.

(OR)

23.	How is the radioactive technique applied in medicine? Elaborate.

24.	Explain the need and procedure involved in multiple techniques in Thermal Analysis.

(OR)

25.	Describe the method and applications of Differential thermal analysis.