Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: INSTRUMENTAL METHODS OF ANALYSIS			       	       Time: 3 hours

Subject Code: 09BT251			       						      	       	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1. 	What are the four basic functions of instrumental analysis?

2.	What is a figure of merit?

3.	Why can water not be used as a solvent in Infrared spectroscopy?

4.	List out the properties of an ideal transducer.

5.	Define ground state of a molecule.

6.	What is hyperchromic shift?

7.	Write the difference between DTA and DSC.

8.	List the applications of thermal methods.

9.	Define capillary zone electrophoresis.

10.	What is SFC?

PART – B (5 x 3 = 15 MARKS)

11.	Explain the terms: Reflection, Refraction, Diffraction and Scattering.

12. 	Differentiate single and double beam spectrophotometer.

13. 	Discuss in detail the characteristics and types of pumps used in HPLC.

14. 	Define radioactive decay. List the various types of radioactive decay.

15. 	Discuss the Differential thermal method of analysis in detail.

PART – C (5 x 15 = 75 MARKS)

16.	Derive the Henderson-Hasselbalch equation and state its applications.

(OR)

17.	a.	Explain different calibration and instrument methods.

b.	Briefly explain about determination of pH using H2 electrode.

18. With a neat figure explain the various components of a double beam UV spectrophotometer.

(OR)

19.	a.	Discuss the biological applications and uses of Raman spectroscopy.

b.	Describe how IR is useful in analytical spectroscopy as well as in the other instrumentations relevant to biological research.

20. 	Explain the principle and classifications of different types of Chromatography.

(OR)

21. 	Write briefly about principle, construction, working and applications of Thermal transducers.

22.	Give a detailed account on Scintillation counter and its medical applications.

(OR)

23.	Write short notes on 	a.	Radioactive Isotopes 	b.	Radioactive Techniques

24.	Explain the following:

a.	Factors affecting thermal methods. 		b.	Applications of thermal methods.

(OR)

25.  Explain briefly about Thermo Gravimetric Analysis (TGA) with a neat diagram.