Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: THEORIES AND PRACTICES OF WATER AND WASTEWATER ENGINEERING 											       Time: 3 hours

Subject Code: 09CE211			       						             	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	What are the types of water demands?

2.	What are the three main factors responsible for changes in population?

3.	Define Storm sewage.

4.	What are the tests to be carried out for determining the physical characteristics of sewage?

5.	Write the Hazen-William’s formula.

6.	Define Impeller.

7.	Why are values used in the distribution system pipelines?

8.	What are the types of fire hydrants?

9.	What is another name of egg-shaped sewers?

10.	What is the depth of a shallow manhole?

PART – B (5 x 3 = 15 MARKS)

11.	What are the various sources of water available on the Earth?

12.	What are the tests to be carried out for determining the chemical characteristics of sewage?

13.	What are the various types of pressure pipes based on construction materials?

14.	Explain about Distribution Reservoirs.

15.	What are the major components in the sewage pumping station?

PART – C (5 x 15 = 75 MARKS)

16. 	In a town, it has been decided to provide 200 L per head per day of water in the 21st Century. Estimate the domestic water requirements of this town in the year AD 2000 by projecting the population of the town by incremental increase method:

| Year | Population |
| --- | --- |
| 1940 | 2,37,98,624 |
| 1950 | 4,69,78,325 |
| 1960 | 5,47,86,437 |
| 1970 | 6,34,67,823 |
| 1980 | 6,90,77,421 |

(OR)

17.	a.	Explain the factors affecting per capital demand. 		b.	Explain the Hydrologic Cycle.

18.	A population of 30,000 is residing in a town having an area of 60 hectares. If the average coefficient of runoff for this area is 0.60, and the time of concentration of the design rain is 30 minutes, calculate the discharge for which the sewers of a proposed combined system will be designed for the town. Make suitable assumptions where needed.

(OR)

19.	The BOD5 of wastewater is 150 mg/l at 20ºC.The K value is known to be 0.23/ day. What 	would the BOD8 be if the test was run at 15ºC?

[P.T.O]

20.	Explain: 		a.	Socket and spigot joint 	b.	Dresser coupling.					(8+7)

(OR)

21.	a.	Explain the factors affecting the selection of a pump.

b.	Write the formulas for Head, Power and Efficiency of pumps.

22.	What are the layouts of Distribution networks? Explain any two systems in detail.

(OR)

23.	Write short notes on 	a.	Fire hydrant 		b.	Water meter 		c.	Hardy-Cross method																						(3x5)

24.	With a neat sketch explain 	a.	Laying of sewers 		b.	Testing of the sewer pipes

(OR)

25.	a.	Differentiate between ejector and pumps.										(5)

b.	Draw a neat sketch of a typical sewage pumping system.							(10)