Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May-2013

Subject Title: INDUSTRIAL WASTE TREATMENT AND DISPOSAL              Time: 3 hours

Subject Code: 09CE238				       						       	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	Write the effect of discharging oil contained effluent in streams.

2.	Define effluent standard.

3.	What is environmental audit?

4.	Write the difference between absorption and adsorption.

5.	Define attached growth process.

6.	Define Reverse Osmosis.

7.	Define thermal cracking in a petroleum refinery industry.

8.	Mention the main units of an integrated steel plant.

9.	Which effluent is called as white water in a paper and pulp industry?

10.	Mention the range of products from distilleries.

PART – B (5 x 3 = 15 MARKS)

11.	What are the advantages of stream standard system?

12.	Define equalization and mention the methods adopted to achieve it.

13.	Mention the different modifications of activated sludge process.

14.	Draw the treatment line diagram of lime treatment in paper and pulp industry.

15.	Write the composition of the waste water of a typical dairy industry.

PART – C (5 x 15 = 75 MARKS)

16.	Explain the effects of discharging waste water in streams, in detail.

(OR)

17.	Write in detail about the strength reduction of waste water.

18.	Explain in detail the different methods of neutralizing over acidic and over alkaline waste water.

(OR)

19.	With the help of a neat diagram, explain the working of sludge drying beds adopted in industries for treating residue.

20.	Explain the process of removal of Phosphorous and Nitrogen in ponds.

(OR)

21.	Describe the working principle of an oxidation ditch with a neat diagram.

22.	Explain the waste water characteristics and waste treatment of fertilizer industry effluent.

(OR)

23.	Give details regarding origin, characteristics and treatment of effluent of an integrated steel plant.

24.	Describe the process and characteristics of waste from the sugar industry.

(OR)

25.	Discuss the treatment of a tannery waste, giving its origin and characteristics.